User Requirements Specification (URS)

HeartPulse Mobile Heart Rate Monitor Application

| Field | Value |
| --- | --- |
| Document ID | URS-HRMON-001 |
| Version | 1.0 |
| Status | Draft for Testing |
| System Name | HeartPulse App for Android and iOS |
| Date | 18-May-2026 |
| Prepared By | Validation Team |

# 1. Purpose

This URS defines user and business requirements for the HeartPulse mobile heart rate monitor application for Android and iOS. The application is intended for personal wellness monitoring and is not intended to diagnose, treat, cure, or prevent disease.

# 2. Compliance and Use Note

This sample document is created only for testing an AI-assisted traceability matrix generator. It is not intended for clinical, regulatory, production, or approved validation use without formal review and approval.

# 3. Scope

The scope includes mobile user authentication, heart rate measurement capture, real-time display, alert notification, history trends, data synchronization, report export, privacy consent, offline handling, and activity logging.

# 4. Intended Users

Intended users include mobile app users, validation testers, support/admin users, and QA/validation reviewers.

# 5. User Requirements

| URS ID | Requirement Title | User Requirement | Risk / Priority |
| --- | --- | --- | --- |
| URS-001 | User Registration and Secure Login | The system shall allow authorized users to register and securely login using email/mobile number and password or supported biometric authentication on Android and iOS. | High / Must Have |
| URS-002 | Heart Rate Measurement Capture | The system shall capture heart rate readings in beats per minute from a connected wearable sensor or supported mobile phone camera based PPG measurement method. | High / Must Have |
| URS-003 | Real-Time Heart Rate Display | The system shall display the current heart rate value, measurement status, and timestamp in a simple real-time dashboard. | High / Must Have |
| URS-004 | Abnormal Heart Rate Alert | The system shall notify the user when heart rate readings are outside configured low or high threshold limits, with a clear non-diagnostic safety disclaimer. | High / Must Have |
| URS-005 | Measurement History and Trends | The system shall store heart rate measurements and allow users to view daily, weekly, and monthly history trends. | Medium / Should Have |
| URS-006 | Data Synchronization | The system shall synchronize heart rate data securely between the mobile application and backend service when network connectivity is available. | High / Must Have |
| URS-007 | Report Export | The system shall allow users to export heart rate history reports in PDF or CSV format for personal tracking or review with a healthcare professional. | Medium / Should Have |
| URS-008 | Privacy and Consent | The system shall collect user consent before storing or transmitting heart rate data and shall display privacy information before account activation. | High / Must Have |
| URS-009 | Offline Mode | The system shall allow users to capture and temporarily store heart rate readings while offline and synchronize them after connectivity is restored. | Medium / Should Have |
| URS-010 | Audit and Activity Logging | The system shall maintain activity logs for login, logout, heart rate measurement capture, alert acknowledgement, data export, and synchronization events. | High / Must Have |

# Approval Section

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By |  |  |  |
| Reviewed By |  |  |  |
| Approved By |  |  |  |