# Functional Requirement Specification (FRS)

## HeartPulse Mobile Heart Rate Monitor Application

| Document ID | FRS-HRPMON-001 |
| --- | --- |
| Version | 1.0 |
| Status | Draft for Testing |
| Use Note | Sample document for AI traceability matrix testing only. |

# Purpose

This FRS defines the functional behavior required to satisfy the URS requirements for the HeartPulse mobile application.

# Functional Requirements

| FRS ID | Related URS | Function Title | Functional Requirement | Priority |
| --- | --- | --- | --- | --- |
| FRS-001 | URS-001 | User Registration and Secure Login | The mobile application shall provide functional capability for user registration and secure login. It shall support Android and iOS users according to URS-001. | High |
| FRS-002 | URS-002 | Heart Rate Measurement Capture | The mobile application shall provide functional capability for heart rate measurement capture. It shall support Android and iOS users according to URS-002. | High |
| FRS-003 | URS-003 | Real-Time Heart Rate Display | The mobile application shall provide functional capability for real-time heart rate display. It shall support Android and iOS users according to URS-003. | High |
| FRS-004 | URS-004 | Heart Rate Alert Notification | The mobile application shall provide functional capability for heart rate alert notification. It shall support Android and iOS users according to URS-004. | High |
| FRS-005 | URS-005 | Measurement History and Trend View | The mobile application shall provide functional capability for measurement history and trend view. It shall support Android and iOS users according to URS-005. | Medium |
| FRS-006 | URS-006 | Cloud Synchronization | The mobile application shall provide functional capability for cloud synchronization. It shall support Android and iOS users according to URS-006. | Medium |
| FRS-007 | URS-007 | Report Export | The mobile application shall provide functional capability for report export. It shall support Android and iOS users according to URS-007. | Medium |
| FRS-008 | URS-008 | Privacy Consent and Data Protection | The mobile application shall provide functional capability for privacy consent and data protection. It shall support Android and iOS users according to URS-008. | High |

# Approval Section

Prepared By: Validation Team   Reviewed By: QA Reviewer   Approved By: QA Approver