Functional Requirement Specification (FRS)

HeartPulse Mobile Heart Rate Monitor Application

| Field | Value |
| --- | --- |
| Document ID | FRS-HRMON-001 |
| Version | 1.0 |
| Status | Draft for Testing |
| System Name | HeartPulse App for Android and iOS |
| Date | 18-May-2026 |
| Prepared By | Validation Team |

# 1. Purpose

This FRS defines functional behavior required to satisfy the approved URS requirements for the HeartPulse mobile application.

# 2. Compliance and Use Note

This sample document is created only for testing an AI-assisted traceability matrix generator. It is not intended for clinical, regulatory, production, or approved validation use without formal review and approval.

# 3. Functional Scope

The functional scope includes authentication, heart rate capture, dashboard display, alerting, history, synchronization, report export, consent management, offline mode, and activity logging.

# 4. Functional Requirements

| FRS ID | Related URS | Function Title | Functional Requirement |
| --- | --- | --- | --- |
| FRS-001 | URS-001 | Authentication Function | The mobile app shall provide registration, login, password reset, and optional biometric login using platform-supported authentication mechanisms. |
| FRS-002 | URS-002 | Heart Rate Capture Function | The mobile app shall start, stop, validate, and save heart rate measurements from Bluetooth sensor input or supported camera PPG measurement. |
| FRS-003 | URS-003 | Dashboard Display Function | The mobile app shall show current BPM value, status indicator, last updated time, and sensor connection state on the home dashboard. |
| FRS-004 | URS-004 | Alert Notification Function | The system shall compare captured heart rate readings against configured thresholds and generate user-visible alerts for out-of-range readings. |
| FRS-005 | URS-005 | History and Trend Function | The app shall show stored readings in list and chart views with daily, weekly, and monthly filters. |
| FRS-006 | URS-006 | Secure Sync Function | The app shall transmit encrypted heart rate data to the backend API and reconcile unsynced local records after successful synchronization. |
| FRS-007 | URS-007 | Report Export Function | The app shall generate exportable heart rate history reports in PDF and CSV format based on user-selected date range. |
| FRS-008 | URS-008 | Consent and Privacy Function | The app shall display consent and privacy notices during onboarding and store consent status before enabling data capture. |
| FRS-009 | URS-009 | Offline Capture Function | The app shall save measurements locally when offline and mark them as pending synchronization. |
| FRS-010 | URS-010 | Activity Log Function | The system shall create activity log entries for security, measurement, alert, export, and synchronization events. |

# Approval Section

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By |  |  |  |
| Reviewed By |  |  |  |
| Approved By |  |  |  |