Design Specification (DS)

HeartPulse Mobile Heart Rate Monitor Application

| Field | Value |
| --- | --- |
| Document ID | DS-HRMON-001 |
| Version | 1.0 |
| Status | Draft for Testing |
| System Name | HeartPulse App for Android and iOS |
| Date | 18-May-2026 |
| Prepared By | Validation Team |

# 1. Purpose

This DS defines technical design and configuration references for implementing the HeartPulse mobile application on Android and iOS.

# 2. Compliance and Use Note

This sample document is created only for testing an AI-assisted traceability matrix generator. It is not intended for clinical, regulatory, production, or approved validation use without formal review and approval.

# 3. Design Scope

The design includes mobile UI components, secure authentication, local encrypted storage, backend API integration, alert logic, report generation, and activity logging.

# 4. Design and Configuration References

| DS ID | Related URS | Related FRS | Design / Configuration Description |
| --- | --- | --- | --- |
| DS-001 | URS-001 | FRS-001 | Configure mobile authentication module using OAuth2 token based session handling, secure credential storage, and platform biometric API support for Android and iOS. |
| DS-002 | URS-002 | FRS-002 | Design heart rate capture service with Bluetooth sensor adapter, camera PPG adapter, measurement validation rules, and BPM calculation result model. |
| DS-003 | URS-003 | FRS-003 | Design dashboard screen components for BPM card, measurement status badge, timestamp label, and sensor connection indicator. |
| DS-004 | URS-004 | FRS-004 | Configure threshold evaluation service with low/high limits, alert trigger logic, local push notification, and non-diagnostic disclaimer display. |
| DS-005 | URS-005 | FRS-005 | Design local and backend data schema for heart_rate_reading records with timestamp, BPM, source, status, and sync state fields. |
| DS-006 | URS-006 | FRS-006 | Design secure API integration using HTTPS, access token authentication, retry queue, and conflict reconciliation for unsynced readings. |
| DS-007 | URS-007 | FRS-007 | Design report generation module that converts selected heart rate history into PDF and CSV outputs with user details and date range metadata. |
| DS-008 | URS-008 | FRS-008 | Configure onboarding consent screen, consent status database field, privacy notice version, and consent timestamp capture. |
| DS-009 | URS-009 | FRS-009 | Design offline storage layer using encrypted local database and pending_sync flag for readings created without network connectivity. |
| DS-010 | URS-010 | FRS-010 | Design activity_log table/API containing user ID, event type, timestamp, device ID, old value, new value where applicable, and source module. |

# Approval Section

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By |  |  |  |
| Reviewed By |  |  |  |
| Approved By |  |  |  |