Installation Qualification (IQ)

HeartPulse Mobile Heart Rate Monitor Application

| Field | Value |
| --- | --- |
| Document ID | IQ-HRMON-001 |
| Version | 1.0 |
| Status | Draft for Testing |
| System Name | HeartPulse App for Android and iOS |
| Date | 18-May-2026 |
| Prepared By | Validation Team |

# 1. Purpose

This IQ verifies that required application builds, services, permissions, configurations, databases, and dependencies for the HeartPulse system are installed and available.

# 2. Compliance and Use Note

This sample document is created only for testing an AI-assisted traceability matrix generator. It is not intended for clinical, regulatory, production, or approved validation use without formal review and approval.

# 3. IQ Approach

Installation verification is performed for Android and iOS builds, backend API configuration, database objects, local storage, and supporting libraries.

# 4. IQ Verification Tests

| IQ ID | Related URS | Installation Verification | Expected Result |
| --- | --- | --- | --- |
| IQ-001 | URS-001 | Verify Android and iOS application builds are installed successfully on supported test devices and authentication configuration is available. | Application builds install successfully and authentication configuration is present. |
| IQ-002 | URS-002 | Verify Bluetooth permission, camera permission, and heart rate capture service configuration are installed in Android and iOS builds. | Required permissions and measurement service configuration are present. |
| IQ-003 | URS-003 | Verify dashboard screen package, UI resources, and required labels are installed in the mobile application build. | Dashboard screen and required UI resources are available. |
| IQ-004 | URS-004 | Verify alert threshold configuration and notification permission settings are installed in Android and iOS builds. | Alert threshold and notification settings are available. |
| IQ-005 | URS-005 | Verify local database schema and backend table for heart rate history are created. | Required heart rate history storage objects are available. |
| IQ-006 | URS-006 | Verify backend API endpoint URL, certificate configuration, and synchronization service are available. | Sync API endpoint and secure connection configuration are available. |
| IQ-007 | URS-007 | Verify PDF and CSV export libraries/modules are included in the application build. | Report export dependencies are installed and available. |
| IQ-008 | URS-008 | Verify privacy notice content, consent screen assets, and consent storage fields are installed. | Consent-related assets and fields are available. |
| IQ-009 | URS-009 | Verify encrypted local storage configuration is available for offline measurement capture. | Encrypted local storage configuration is installed. |
| IQ-010 | URS-010 | Verify activity log database table/API and logging configuration are available. | Activity logging objects and configuration are available. |

# Approval Section

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By |  |  |  |
| Reviewed By |  |  |  |
| Approved By |  |  |  |