Operational Qualification (OQ)

HeartPulse Mobile Heart Rate Monitor Application

| Field | Value |
| --- | --- |
| Document ID | OQ-HRMON-001 |
| Version | 1.0 |
| Status | Draft for Testing |
| System Name | HeartPulse App for Android and iOS |
| Date | 18-May-2026 |
| Prepared By | Validation Team |

# 1. Purpose

This OQ verifies that HeartPulse mobile functions operate according to functional requirements under controlled test conditions.

# 2. Compliance and Use Note

This sample document is created only for testing an AI-assisted traceability matrix generator. It is not intended for clinical, regulatory, production, or approved validation use without formal review and approval.

# 3. OQ Approach

Operational tests verify positive and negative functional behavior on supported Android and iOS devices using representative test users and test data.

# 4. OQ Test Cases

| OQ ID | Related URS | Test Procedure | Expected Result |
| --- | --- | --- | --- |
| OQ-001 | URS-001 | Verify a user can register, login, logout, reset password, and use supported biometric login on Android and iOS. | User authentication functions work as expected on both platforms. |
| OQ-002 | URS-002 | Verify the app can start measurement, receive heart rate input, calculate/display BPM, reject invalid input, and save a valid measurement. | Valid heart rate readings are captured and invalid measurements are rejected. |
| OQ-003 | URS-003 | Verify the dashboard displays BPM, measurement status, timestamp, and sensor connection status after measurement. | Dashboard displays required information accurately. |
| OQ-004 | URS-004 | Verify low and high heart rate threshold alerts are triggered and include a non-diagnostic disclaimer. | Out-of-range readings trigger alert with disclaimer. |
| OQ-005 | URS-005 | Verify daily, weekly, and monthly history filters show correct heart rate records and trends. | History and trend views display expected records. |
| OQ-006 | URS-006 | Verify heart rate data is synchronized to backend over secure connection and retry works after temporary network failure. | Data synchronization completes successfully and retry behavior works. |
| OQ-007 | URS-007 | Verify user can generate PDF and CSV reports for selected date ranges and exported records match displayed history. | PDF and CSV exports are generated with correct data. |
| OQ-008 | URS-008 | Verify app blocks heart rate capture until user accepts consent and stores consent version and timestamp. | Consent is required and captured correctly. |
| OQ-009 | URS-009 | Verify measurements captured offline are stored locally and synchronized when network connectivity is restored. | Offline readings are retained and synchronized later. |
| OQ-010 | URS-010 | Verify activity log entries are created for login, measurement capture, alert acknowledgement, export, and synchronization. | Activity logs are captured for required events. |

# Approval Section

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By |  |  |  |
| Reviewed By |  |  |  |
| Approved By |  |  |  |