Performance Qualification (PQ)

HeartPulse Mobile Heart Rate Monitor Application

| Field | Value |
| --- | --- |
| Document ID | PQ-HRMON-001 |
| Version | 1.0 |
| Status | Draft for Testing |
| System Name | HeartPulse App for Android and iOS |
| Date | 18-May-2026 |
| Prepared By | Validation Team |

# 1. Purpose

This PQ verifies that the HeartPulse system supports realistic end-user and operational workflows for intended wellness monitoring use.

# 2. Compliance and Use Note

This sample document is created only for testing an AI-assisted traceability matrix generator. It is not intended for clinical, regulatory, production, or approved validation use without formal review and approval.

# 3. PQ Approach

PQ scenarios confirm that routine user workflows can be completed successfully using Android and iOS devices in realistic use conditions.

# 4. PQ Business Process Scenarios

| PQ ID | Related URS | Business Process Scenario | Acceptance Criteria |
| --- | --- | --- | --- |
| PQ-001 | URS-001 | A new user installs the app, creates an account, logs in, enables biometric login, and logs out as part of normal first-time use. | User onboarding and login workflow is completed successfully. |
| PQ-002 | URS-002 | A user captures a heart rate measurement using a connected wearable sensor during a routine wellness check. | Heart rate measurement is captured and saved for normal use. |
| PQ-003 | URS-003 | A user opens the home screen after measurement and reviews current BPM, timestamp, and sensor connection status. | Real-time dashboard supports normal user review. |
| PQ-004 | URS-004 | A user receives an out-of-range heart rate alert during normal app use and acknowledges the non-diagnostic message. | Alert workflow supports user awareness without diagnostic claims. |
| PQ-005 | URS-005 | A user reviews weekly and monthly heart rate trends to understand wellness patterns. | Trend review is completed successfully. |
| PQ-006 | URS-006 | A user captures readings during the day and confirms data appears in the backend/cloud account after synchronization. | Data synchronization supports routine business/user process. |
| PQ-007 | URS-007 | A user exports a monthly heart rate report and shares it externally for personal wellness discussion. | Report export supports intended user workflow. |
| PQ-008 | URS-008 | A first-time user reviews privacy notice, provides consent, and then captures a heart rate reading. | Consent workflow supports intended use before data capture. |
| PQ-009 | URS-009 | A user records heart rate while offline during travel and confirms readings synchronize when online. | Offline-to-online workflow supports intended use. |
| PQ-010 | URS-010 | An admin/support user reviews activity logs for a reported synchronization issue. | Activity logs support operational review and troubleshooting. |

# Approval Section

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By |  |  |  |
| Reviewed By |  |  |  |
| Approved By |  |  |  |