Document 1 - URS - Heart Rate Monitor Application

Application: Heart Rate Monitor for Android and iOS

Document state: DRAFT / uncontrolled / deliberately messy for parser testing

Note: This is synthetic test material only. It is not approved medical-device validation content.

Revision table is mixed below; some rows intentionally repeat or omit values.

| Version | Date | Author | Change |
| --- | --- | --- | --- |
| 0.1 | 2026-05-18 | QA/BA | Initial messy draft |
| 1.0? | TBD | SME? | Imported from old template |
| 0.2 | missing | AI Test | duplicate version row |

This URS captures expected business and user needs for the Heart Rate Monitor mobile application used by patients, caregivers, and clinical support staff. The structure is intentionally messy for AI/RAG and traceability testing.

# URS Section 2 - Cover / uncontrolled draft

OCR noisy line

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-002. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-002-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-002-01 | Manual heart rate entry when device unavailable | Android/iOS | Not ranked | Audit/event record shall be generated where applicable. | Need SME |
| URS-002-02 | Biometric login option | Android | Not ranked | TBD by clinical SME - intentionally incomplete. | Draft |
| URS-002-03 | Handle offline mode | Backend API | Medium | User shall receive clear error message on failure. | Draft |

# URS Section 3 - Abbreviations mixed list

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-003. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-003-01 | Capture heart rate from paired device | Cloud Sync | Not ranked | Audit/event record shall be generated where applicable. | Rejected once |
| URS_3.2 | Notification retry and suppression | iOS | TBD | Audit/event record shall be generated where applicable. | Rejected once |
| URS_3.3 | Export readings as PDF/CSV | Backend API | TBD | Data shall be encrypted in transit and at rest. | Draft |
| URS_3.4 | Export readings as PDF/CSV | Android | Not ranked | Result must be visible in mobile UI within expected time. | Rejected once |

## URS Section 4 - Document purpose

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-004. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

URS-004-2: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-004-01 | Capture heart rate from paired device | Local DB | Low | Result must be visible in mobile UI within expected time. | In Review |
| URS_4.2 | Biometric login option | Bluetooth Sensor | Medium | TBD by clinical SME - intentionally incomplete. | Draft |
| URS_4.3 | Export readings as PDF/CSV | iOS | Medium | Audit/event record shall be generated where applicable. | Pending QA |
| URS-004-04 | Display current BPM with timestamp | Android | High | Result must be visible in mobile UI within expected time. | Draft |

## URS Section 5 - Scope and non-scope

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-005. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS_5.1 | Audit user actions | Android | TBD | System shall complete the action without data loss. | Approved? |
| URS-005-02 | Manual heart rate entry when device unavailable | Android | High | User shall receive clear error message on failure. | Draft |
| URS-005-03 | Notification retry and suppression | Backend API | TBD | TBD by clinical SME - intentionally incomplete. | Pending QA |

## URS Section 6 - System overview

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-006. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-006-01 | Display current BPM with timestamp | Cloud Sync | High | System shall complete the action without data loss. | Approved? |
| URS_6.2 | Store readings securely on device | Local DB | Not ranked | Result must be visible in mobile UI within expected time. | Draft |
| URS-006-03 | Capture heart rate from paired device | Android | Low | System shall complete the action without data loss. | Draft |

# URS Section 7 - Mobile app overview

missing owner

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-007. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-007-1: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-007-01 | Sync readings to cloud API | Bluetooth Sensor | TBD | User shall receive clear error message on failure. | Rejected once |
| URS-007-02 | Consent capture and privacy notice | Backend API | Not ranked | Audit/event record shall be generated where applicable. | Approved? |
| URS-007-03 | Validate sensor data range | Notification Service | High | System shall complete the action without data loss. | Pending QA |
| URS-007-04 | Display current BPM with timestamp | Backend API | High | Result must be visible in mobile UI within expected time. | Pending QA |

# URS Section 8 - User roles

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-008. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

URS-008-3: App shall process heart rate data and preserve timestamp/timezone context.

URS-008-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-008-01 | Display current BPM with timestamp | Notification Service | High | Result must be visible in mobile UI within expected time. | Need SME |
| URS_8.2 | Sync readings to cloud API | Bluetooth Sensor | Not ranked | Data shall be encrypted in transit and at rest. | Approved? |
| URS-008-03 | Export readings as PDF/CSV | Cloud Sync | TBD | Audit/event record shall be generated where applicable. | Pending QA |

# URS Section 9 - Regulatory notes

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-009. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS_9.1 | Store readings securely on device | Bluetooth Sensor | Low | System shall complete the action without data loss. | Approved? |
| URS-009-02 | Show trend chart for 7/30/90 days | Android/iOS | Low | User shall receive clear error message on failure. | In Review |
| URS-009-03 | Support caregiver view | Android | Medium | System shall complete the action without data loss. | Rejected once |
| URS-009-04 | Audit user actions | Notification Service | Medium | Result must be visible in mobile UI within expected time. | Pending QA |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# URS Section 10 - Data privacy notes

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-010. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

URS-010-3: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS_10.1 | Audit user actions | Bluetooth Sensor | Medium | Data shall be encrypted in transit and at rest. | Need SME |
| URS-010-02 | Consent capture and privacy notice | iOS | Low | Data shall be encrypted in transit and at rest. | Need SME |
| URS-010-03 | Display current BPM with timestamp | Notification Service | Low | Result must be visible in mobile UI within expected time. | Rejected once |
| URS-010-04 | Biometric login option | Local DB | Not ranked | System shall complete the action without data loss. | Draft |

# URS Section 11 - High level assumptions

??

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-011. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-011-01 | Support caregiver view | Bluetooth Sensor | Low | Audit/event record shall be generated where applicable. | Pending QA |
| URS-011-02 | Show trend chart for 7/30/90 days | Backend API | TBD | Result must be visible in mobile UI within expected time. | Rejected once |
| URS_11.3 | Support caregiver view | Android | TBD | Audit/event record shall be generated where applicable. | Pending QA |
| URS-011-04 | Battery and Bluetooth warning | Android | Medium | Result must be visible in mobile UI within expected time. | Approved? |
| URS-011-05 | Manual heart rate entry when device unavailable | Notification Service | Low | System shall complete the action without data loss. | Pending QA |

# URS Section 12 - Cover / uncontrolled draft

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-012. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

URS-012-3: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-012-01 | Show trend chart for 7/30/90 days | Backend API | Medium | Result must be visible in mobile UI within expected time. | Approved? |
| URS-012-02 | Store readings securely on device | Backend API | Low | System shall complete the action without data loss. | Pending QA |
| URS-012-03 | Handle offline mode | iOS | TBD | System shall complete the action without data loss. | Draft |
| URS-012-04 | Capture heart rate from paired device | Android | Not ranked | TBD by clinical SME - intentionally incomplete. | Rejected once |
| URS-012-05 | Biometric login option | Android/iOS | Not ranked | Data shall be encrypted in transit and at rest. | Approved? |

# URS Section 13 - Abbreviations mixed list

RAG TEST CHUNK

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-013. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-013-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS_13.1 | Battery and Bluetooth warning | Local DB | TBD | Data shall be encrypted in transit and at rest. | Approved? |
| URS-013-02 | Store readings securely on device | Bluetooth Sensor | Low | System shall complete the action without data loss. | Pending QA |
| URS-013-03 | Consent capture and privacy notice | Bluetooth Sensor | High | Audit/event record shall be generated where applicable. | Need SME |
| URS_13.4 | Support caregiver view | Local DB | High | Audit/event record shall be generated where applicable. | Draft |

Random inserted note: duplicate title appears again below.

## URS Section 13 - Abbreviations mixed list

## URS Section 14 - Document purpose

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-014. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-014-01 | Store readings securely on device | Notification Service | Not ranked | Data shall be encrypted in transit and at rest. | In Review |
| URS-014-02 | Consent capture and privacy notice | Cloud Sync | Medium | User shall receive clear error message on failure. | Rejected once |
| URS-014-03 | Generate high/low heart-rate alert | Notification Service | High | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS-014-04 | Generate high/low heart-rate alert | Android | High | Audit/event record shall be generated where applicable. | Need SME |

# URS Section 15 - Evidence placeholder

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-015. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS_15.1 | Store readings securely on device | iOS | Not ranked | Data shall be encrypted in transit and at rest. | Pending QA |
| URS_15.2 | Handle offline mode | Cloud Sync | High | System shall complete the action without data loss. | Approved? |
| URS-015-03 | Manual heart rate entry when device unavailable | Backend API | Not ranked | System shall complete the action without data loss. | Pending QA |
| URS_15.4 | Show trend chart for 7/30/90 days | Android/iOS | High | System shall complete the action without data loss. | In Review |
| URS-015-05 | Notification retry and suppression | Android | Not ranked | Audit/event record shall be generated where applicable. | Rejected once |

## URS Section 16 - UI behavior

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-016. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-016-2: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-016-01 | Handle offline mode | Android/iOS | Not ranked | System shall complete the action without data loss. | Need SME |
| URS_16.2 | Show trend chart for 7/30/90 days | iOS | Low | Audit/event record shall be generated where applicable. | Rejected once |
| URS-016-03 | Support caregiver view | iOS | Medium | User shall receive clear error message on failure. | Pending QA |
| URS-016-04 | Handle offline mode | iOS | High | Data shall be encrypted in transit and at rest. | Need SME |

# URS Section 17 - Security and privacy

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-017. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-017-1: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-017-01 | Generate high/low heart-rate alert | Notification Service | TBD | Result must be visible in mobile UI within expected time. | In Review |
| URS-017-02 | Show trend chart for 7/30/90 days | Bluetooth Sensor | Not ranked | TBD by clinical SME - intentionally incomplete. | Pending QA |
| URS-017-03 | Show trend chart for 7/30/90 days | Android/iOS | TBD | User shall receive clear error message on failure. | Draft |

## URS Section 18 - Bluetooth edge cases

OCR noisy line

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-018. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

URS-018-2: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-018-01 | Audit user actions | Android/iOS | Medium | System shall complete the action without data loss. | Draft |
| URS-018-02 | Display current BPM with timestamp | iOS | TBD | Data shall be encrypted in transit and at rest. | In Review |
| URS_18.3 | Biometric login option | Notification Service | High | Audit/event record shall be generated where applicable. | Pending QA |
| URS-018-04 | Manual heart rate entry when device unavailable | Android/iOS | Medium | User shall receive clear error message on failure. | Pending QA |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# URS Section 19 - Audit trail mapping

REVIEW-LATER

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-019. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

URS-019-3: App shall process heart rate data and preserve timestamp/timezone context.

URS-019-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-019-01 | Manual heart rate entry when device unavailable | Notification Service | Medium | Result must be visible in mobile UI within expected time. | Pending QA |
| URS-019-02 | Display current BPM with timestamp | Bluetooth Sensor | Low | Result must be visible in mobile UI within expected time. | In Review |
| URS-019-03 | Generate high/low heart-rate alert | iOS | Medium | Data shall be encrypted in transit and at rest. | Approved? |
| URS-019-04 | Display current BPM with timestamp | Android/iOS | Not ranked | TBD by clinical SME - intentionally incomplete. | Approved? |

## URS Section 20 - Evidence placeholder

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-020. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-020-2: App shall process heart rate data and preserve timestamp/timezone context.

URS-020-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-020-01 | Audit user actions | Backend API | TBD | Audit/event record shall be generated where applicable. | Need SME |
| URS_20.2 | Sync readings to cloud API | Bluetooth Sensor | Low | Result must be visible in mobile UI within expected time. | In Review |
| URS_20.3 | Notification retry and suppression | Notification Service | Not ranked | User shall receive clear error message on failure. | In Review |
| URS-020-04 | Export readings as PDF/CSV | Android/iOS | TBD | Result must be visible in mobile UI within expected time. | Draft |

## URS Section 21 - Evidence placeholder

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-021. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-021-1: App shall process heart rate data and preserve timestamp/timezone context.

URS-021-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-021-01 | Support caregiver view | Backend API | Medium | Result must be visible in mobile UI within expected time. | Need SME |
| URS_21.2 | Sync readings to cloud API | iOS | Not ranked | Data shall be encrypted in transit and at rest. | In Review |
| URS-021-03 | Audit user actions | Bluetooth Sensor | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS-021-04 | Display current BPM with timestamp | Android | Medium | System shall complete the action without data loss. | In Review |

## URS Section 22 - Security and privacy

missing owner

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-022. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-022-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-022-01 | Capture heart rate from paired device | Android/iOS | TBD | Result must be visible in mobile UI within expected time. | In Review |
| URS_22.2 | Notification retry and suppression | Notification Service | Low | Result must be visible in mobile UI within expected time. | Rejected once |
| URS-022-03 | Battery and Bluetooth warning | Backend API | Not ranked | System shall complete the action without data loss. | Rejected once |

# URS Section 23 - UI behavior

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-023. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-023-01 | Notification retry and suppression | Backend API | High | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS_23.2 | Audit user actions | Cloud Sync | Low | Audit/event record shall be generated where applicable. | Pending QA |
| URS_23.3 | Export readings as PDF/CSV | Android | Not ranked | User shall receive clear error message on failure. | Rejected once |
| URS-023-04 | Generate high/low heart-rate alert | Android | Medium | TBD by clinical SME - intentionally incomplete. | Pending QA |
| URS-023-05 | Biometric login option | iOS | Medium | Result must be visible in mobile UI within expected time. | Need SME |

## URS Section 24 - Security and privacy

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-024. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-024-01 | Export readings as PDF/CSV | iOS | High | TBD by clinical SME - intentionally incomplete. | In Review |
| URS-024-02 | Generate high/low heart-rate alert | Bluetooth Sensor | TBD | Result must be visible in mobile UI within expected time. | Approved? |
| URS-024-03 | Sync readings to cloud API | Backend API | Low | Result must be visible in mobile UI within expected time. | In Review |

## URS Section 25 - Bluetooth edge cases

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-025. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-025-01 | Manual heart rate entry when device unavailable | Cloud Sync | TBD | Data shall be encrypted in transit and at rest. | Need SME |
| URS_25.2 | Store readings securely on device | Bluetooth Sensor | High | TBD by clinical SME - intentionally incomplete. | Rejected once |
| URS-025-03 | Generate high/low heart-rate alert | Local DB | Medium | User shall receive clear error message on failure. | Approved? |

## URS Section 26 - Test condition table

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-026. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

URS-026-2: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-026-01 | Consent capture and privacy notice | Bluetooth Sensor | High | Audit/event record shall be generated where applicable. | Need SME |
| URS-026-02 | Support caregiver view | Bluetooth Sensor | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS-026-03 | Battery and Bluetooth warning | iOS | Not ranked | User shall receive clear error message on failure. | In Review |

Random inserted note: duplicate title appears again below.

## URS Section 26 - Test condition table

## URS Section 27 - Data handling notes

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-027. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-027-1: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

URS-027-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-027-01 | Generate high/low heart-rate alert | Android | Not ranked | User shall receive clear error message on failure. | In Review |
| URS-027-02 | Show trend chart for 7/30/90 days | Notification Service | Not ranked | TBD by clinical SME - intentionally incomplete. | Rejected once |
| URS-027-03 | Handle offline mode | iOS | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# URS Section 28 - Alert workflow

REVIEW-LATER

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-028. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-028-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-028-01 | Notification retry and suppression | Android/iOS | TBD | Result must be visible in mobile UI within expected time. | In Review |
| URS_28.2 | Export readings as PDF/CSV | Bluetooth Sensor | High | Result must be visible in mobile UI within expected time. | Draft |
| URS-028-03 | Capture heart rate from paired device | Android | Not ranked | System shall complete the action without data loss. | Rejected once |
| URS-028-04 | Notification retry and suppression | Android | Low | System shall complete the action without data loss. | Rejected once |

## URS Section 29 - Risk and control mapping

??

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-029. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-029-01 | Consent capture and privacy notice | Local DB | TBD | Data shall be encrypted in transit and at rest. | Draft |
| URS-029-02 | Display current BPM with timestamp | Bluetooth Sensor | Medium | System shall complete the action without data loss. | Draft |
| URS-029-03 | Store readings securely on device | Notification Service | Low | Audit/event record shall be generated where applicable. | Need SME |

## URS Section 30 - Bluetooth edge cases

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-030. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-030-1: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-030-01 | Battery and Bluetooth warning | iOS | Low | TBD by clinical SME - intentionally incomplete. | Rejected once |
| URS-030-02 | Store readings securely on device | iOS | Low | Audit/event record shall be generated where applicable. | Draft |
| URS-030-03 | Export readings as PDF/CSV | Android | Medium | System shall complete the action without data loss. | Draft |
| URS-030-04 | Manual heart rate entry when device unavailable | Bluetooth Sensor | Not ranked | User shall receive clear error message on failure. | Rejected once |

# URS Section 31 - Security and privacy

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-031. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-031-01 | Audit user actions | Cloud Sync | High | User shall receive clear error message on failure. | Need SME |
| URS-031-02 | Handle offline mode | Bluetooth Sensor | Low | Result must be visible in mobile UI within expected time. | In Review |
| URS-031-03 | Battery and Bluetooth warning | Android/iOS | TBD | User shall receive clear error message on failure. | Approved? |

## URS Section 32 - Open questions

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-032. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

URS-032-2: App shall process heart rate data and preserve timestamp/timezone context.

URS-032-3: App shall process heart rate data and preserve timestamp/timezone context.

URS-032-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS_32.1 | Sync readings to cloud API | Bluetooth Sensor | Low | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS-032-02 | Export readings as PDF/CSV | Local DB | Medium | TBD by clinical SME - intentionally incomplete. | Rejected once |
| URS_32.3 | Manual heart rate entry when device unavailable | Android | Low | Data shall be encrypted in transit and at rest. | Draft |
| URS-032-04 | Battery and Bluetooth warning | Android/iOS | Medium | Audit/event record shall be generated where applicable. | Pending QA |
| URS-032-05 | Show trend chart for 7/30/90 days | Android/iOS | Low | Data shall be encrypted in transit and at rest. | In Review |

# URS Section 33 - Alert workflow

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-033. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-033-01 | Store readings securely on device | iOS | Medium | Data shall be encrypted in transit and at rest. | Rejected once |
| URS-033-02 | Store readings securely on device | Android/iOS | Low | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS-033-03 | Consent capture and privacy notice | Android | Medium | Data shall be encrypted in transit and at rest. | Need SME |
| URS-033-04 | Generate high/low heart-rate alert | Android | Low | Data shall be encrypted in transit and at rest. | Need SME |
| URS-033-05 | Handle offline mode | Cloud Sync | Not ranked | Data shall be encrypted in transit and at rest. | Pending QA |

# URS Section 34 - Evidence placeholder

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-034. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-034-01 | Display current BPM with timestamp | Android | Medium | Audit/event record shall be generated where applicable. | Pending QA |
| URS_34.2 | Consent capture and privacy notice | Notification Service | Not ranked | Result must be visible in mobile UI within expected time. | In Review |
| URS-034-03 | Validate sensor data range | Backend API | TBD | User shall receive clear error message on failure. | Need SME |
| URS_34.4 | Store readings securely on device | Bluetooth Sensor | Low | TBD by clinical SME - intentionally incomplete. | Need SME |

# URS Section 35 - Traceability notes

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-035. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-035-1: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-035-01 | Generate high/low heart-rate alert | Backend API | TBD | Result must be visible in mobile UI within expected time. | In Review |
| URS_35.2 | Generate high/low heart-rate alert | Android | High | System shall complete the action without data loss. | Pending QA |
| URS-035-03 | Generate high/low heart-rate alert | Notification Service | Low | Result must be visible in mobile UI within expected time. | Approved? |

## URS Section 36 - Alert workflow

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-036. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-036-01 | Sync readings to cloud API | iOS | TBD | Result must be visible in mobile UI within expected time. | Approved? |
| URS-036-02 | Show trend chart for 7/30/90 days | Local DB | Low | Data shall be encrypted in transit and at rest. | Need SME |
| URS-036-03 | Notification retry and suppression | Notification Service | High | Result must be visible in mobile UI within expected time. | Pending QA |
| URS_36.4 | Export readings as PDF/CSV | Bluetooth Sensor | Medium | Result must be visible in mobile UI within expected time. | Draft |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## URS Section 37 - Requirement details

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-037. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

URS-037-2: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-037-01 | Handle offline mode | Android | Low | Audit/event record shall be generated where applicable. | Need SME |
| URS-037-02 | Show trend chart for 7/30/90 days | Android | Medium | TBD by clinical SME - intentionally incomplete. | In Review |
| URS-037-03 | Export readings as PDF/CSV | Backend API | Low | Result must be visible in mobile UI within expected time. | Pending QA |
| URS-037-04 | Biometric login option | Cloud Sync | TBD | Result must be visible in mobile UI within expected time. | Pending QA |

# URS Section 38 - Evidence placeholder

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-038. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

URS-038-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-038-01 | Support caregiver view | Local DB | Low | User shall receive clear error message on failure. | Approved? |
| URS-038-02 | Handle offline mode | iOS | Not ranked | Data shall be encrypted in transit and at rest. | Rejected once |
| URS-038-03 | Biometric login option | iOS | Low | TBD by clinical SME - intentionally incomplete. | Draft |
| URS-038-04 | Display current BPM with timestamp | Android | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |

## URS Section 39 - API behavior

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-039. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-039-01 | Validate sensor data range | Android/iOS | High | Audit/event record shall be generated where applicable. | Need SME |
| URS-039-02 | Export readings as PDF/CSV | iOS | Low | Result must be visible in mobile UI within expected time. | Need SME |
| URS-039-03 | Display current BPM with timestamp | Notification Service | Medium | TBD by clinical SME - intentionally incomplete. | In Review |
| URS_39.4 | Validate sensor data range | Cloud Sync | Low | Result must be visible in mobile UI within expected time. | In Review |
| URS-039-05 | Capture heart rate from paired device | Cloud Sync | Low | TBD by clinical SME - intentionally incomplete. | Need SME |

Random inserted note: duplicate title appears again below.

## URS Section 39 - API behavior

# URS Section 40 - Alert workflow

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-040. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS_40.1 | Show trend chart for 7/30/90 days | Backend API | Low | System shall complete the action without data loss. | Approved? |
| URS-040-02 | Notification retry and suppression | Local DB | Not ranked | Result must be visible in mobile UI within expected time. | Approved? |
| URS_40.3 | Consent capture and privacy notice | Android | Low | TBD by clinical SME - intentionally incomplete. | Draft |
| URS_40.4 | Generate high/low heart-rate alert | Cloud Sync | High | TBD by clinical SME - intentionally incomplete. | Rejected once |

## URS Section 41 - Repeated requirement block

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-041. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-041-01 | Export readings as PDF/CSV | Cloud Sync | High | User shall receive clear error message on failure. | Draft |
| URS-041-02 | Sync readings to cloud API | Notification Service | TBD | User shall receive clear error message on failure. | Draft |
| URS-041-03 | Consent capture and privacy notice | iOS | High | Data shall be encrypted in transit and at rest. | Need SME |
| URS-041-04 | Export readings as PDF/CSV | Backend API | Not ranked | Data shall be encrypted in transit and at rest. | In Review |

## URS Section 42 - UI behavior

v0.1/v1.0 mixed

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-042. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-042-01 | Handle offline mode | Local DB | Not ranked | TBD by clinical SME - intentionally incomplete. | Rejected once |
| URS-042-02 | Export readings as PDF/CSV | Bluetooth Sensor | High | Data shall be encrypted in transit and at rest. | In Review |
| URS-042-03 | Biometric login option | Android | TBD | Audit/event record shall be generated where applicable. | Rejected once |

## URS Section 43 - Bluetooth edge cases

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-043. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-043-01 | Store readings securely on device | Local DB | Not ranked | System shall complete the action without data loss. | Need SME |
| URS-043-02 | Audit user actions | iOS | High | User shall receive clear error message on failure. | Pending QA |
| URS_43.3 | Battery and Bluetooth warning | Notification Service | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |
| URS-043-04 | Export readings as PDF/CSV | Android/iOS | Medium | Audit/event record shall be generated where applicable. | Approved? |

# URS Section 44 - Traceability notes

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-044. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-044-01 | Battery and Bluetooth warning | Notification Service | Not ranked | User shall receive clear error message on failure. | Need SME |
| URS-044-02 | Show trend chart for 7/30/90 days | Cloud Sync | High | Data shall be encrypted in transit and at rest. | Pending QA |
| URS-044-03 | Battery and Bluetooth warning | Local DB | Low | System shall complete the action without data loss. | In Review |

## URS Section 45 - Open questions

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-045. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-045-01 | Audit user actions | Bluetooth Sensor | High | Data shall be encrypted in transit and at rest. | Rejected once |
| URS-045-02 | Support caregiver view | Notification Service | Not ranked | Data shall be encrypted in transit and at rest. | In Review |
| URS-045-03 | Sync readings to cloud API | Android | Medium | Data shall be encrypted in transit and at rest. | Pending QA |
| URS-045-04 | Manual heart rate entry when device unavailable | Local DB | Not ranked | Audit/event record shall be generated where applicable. | Approved? |
| URS-045-05 | Store readings securely on device | Backend API | High | Result must be visible in mobile UI within expected time. | In Review |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## URS Section 46 - Repeated requirement block

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-046. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

URS-046-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-046-01 | Validate sensor data range | Android/iOS | TBD | Audit/event record shall be generated where applicable. | In Review |
| URS_46.2 | Capture heart rate from paired device | Android/iOS | High | System shall complete the action without data loss. | Rejected once |
| URS-046-03 | Battery and Bluetooth warning | Local DB | High | User shall receive clear error message on failure. | Pending QA |
| URS-046-04 | Audit user actions | Notification Service | Low | Result must be visible in mobile UI within expected time. | Approved? |

## URS Section 47 - Alert workflow

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-047. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-047-01 | Export readings as PDF/CSV | Backend API | Not ranked | Audit/event record shall be generated where applicable. | Rejected once |
| URS-047-02 | Consent capture and privacy notice | Bluetooth Sensor | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |
| URS_47.3 | Show trend chart for 7/30/90 days | Android | Not ranked | Audit/event record shall be generated where applicable. | Approved? |

# URS Section 48 - Security and privacy

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-048. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-048-01 | Generate high/low heart-rate alert | Android/iOS | Not ranked | Data shall be encrypted in transit and at rest. | In Review |
| URS-048-02 | Notification retry and suppression | Android/iOS | Low | User shall receive clear error message on failure. | Approved? |
| URS-048-03 | Battery and Bluetooth warning | Notification Service | High | TBD by clinical SME - intentionally incomplete. | Draft |

# URS Section 49 - UI behavior

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-049. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-049-01 | Audit user actions | Bluetooth Sensor | Medium | Audit/event record shall be generated where applicable. | Draft |
| URS_49.2 | Display current BPM with timestamp | Cloud Sync | High | TBD by clinical SME - intentionally incomplete. | Pending QA |
| URS-049-03 | Biometric login option | Android | Not ranked | Result must be visible in mobile UI within expected time. | Draft |
| URS_49.4 | Notification retry and suppression | Cloud Sync | Low | Audit/event record shall be generated where applicable. | Approved? |

## URS Section 50 - Mobile platform variation

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-050. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-050-01 | Sync readings to cloud API | Cloud Sync | High | System shall complete the action without data loss. | Draft |
| URS-050-02 | Audit user actions | Backend API | Low | System shall complete the action without data loss. | Draft |
| URS-050-03 | Manual heart rate entry when device unavailable | iOS | Low | User shall receive clear error message on failure. | Draft |
| URS-050-04 | Handle offline mode | Notification Service | Medium | System shall complete the action without data loss. | In Review |

## URS Section 51 - Alert workflow

??

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-051. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-051-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-051-01 | Sync readings to cloud API | iOS | Not ranked | User shall receive clear error message on failure. | In Review |
| URS-051-02 | Validate sensor data range | Android | Low | Audit/event record shall be generated where applicable. | Approved? |
| URS_51.3 | Biometric login option | Android/iOS | Medium | Data shall be encrypted in transit and at rest. | Approved? |
| URS_51.4 | Manual heart rate entry when device unavailable | Notification Service | Medium | System shall complete the action without data loss. | In Review |
| URS-051-05 | Biometric login option | Android | High | User shall receive clear error message on failure. | In Review |

## URS Section 52 - Bluetooth edge cases

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-052. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-052-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS_52.1 | Show trend chart for 7/30/90 days | Notification Service | High | Result must be visible in mobile UI within expected time. | In Review |
| URS-052-02 | Audit user actions | Notification Service | Low | Data shall be encrypted in transit and at rest. | In Review |
| URS-052-03 | Biometric login option | Cloud Sync | Low | TBD by clinical SME - intentionally incomplete. | Rejected once |
| URS-052-04 | Battery and Bluetooth warning | Android/iOS | TBD | Audit/event record shall be generated where applicable. | Draft |

Random inserted note: duplicate title appears again below.

## URS Section 52 - Bluetooth edge cases

# URS Section 53 - UI behavior

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-053. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-053-1: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-053-01 | Export readings as PDF/CSV | Cloud Sync | Medium | User shall receive clear error message on failure. | Pending QA |
| URS-053-02 | Export readings as PDF/CSV | Notification Service | Not ranked | Audit/event record shall be generated where applicable. | Pending QA |
| URS-053-03 | Capture heart rate from paired device | iOS | High | User shall receive clear error message on failure. | In Review |
| URS_53.4 | Consent capture and privacy notice | Bluetooth Sensor | High | Result must be visible in mobile UI within expected time. | Need SME |

## URS Section 54 - Mobile platform variation

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-054. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

URS-054-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-054-01 | Show trend chart for 7/30/90 days | iOS | TBD | TBD by clinical SME - intentionally incomplete. | Pending QA |
| URS-054-02 | Audit user actions | Local DB | TBD | User shall receive clear error message on failure. | Need SME |
| URS-054-03 | Audit user actions | Local DB | Medium | System shall complete the action without data loss. | Rejected once |
| URS-054-04 | Display current BPM with timestamp | Notification Service | TBD | TBD by clinical SME - intentionally incomplete. | Pending QA |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## URS Section 55 - Data handling notes

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-055. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-055-2: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-055-01 | Store readings securely on device | Bluetooth Sensor | TBD | Audit/event record shall be generated where applicable. | Pending QA |
| URS_55.2 | Battery and Bluetooth warning | Cloud Sync | Low | TBD by clinical SME - intentionally incomplete. | In Review |
| URS-055-03 | Notification retry and suppression | Android | Not ranked | TBD by clinical SME - intentionally incomplete. | Rejected once |
| URS-055-04 | Export readings as PDF/CSV | Android | Not ranked | Result must be visible in mobile UI within expected time. | Approved? |

## URS Section 56 - Open questions

manual note

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-056. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-056-01 | Notification retry and suppression | Backend API | High | Data shall be encrypted in transit and at rest. | Need SME |
| URS-056-02 | Manual heart rate entry when device unavailable | Notification Service | Not ranked | Audit/event record shall be generated where applicable. | Need SME |
| URS-056-03 | Biometric login option | Notification Service | High | Audit/event record shall be generated where applicable. | Approved? |
| URS-056-04 | Display current BPM with timestamp | Bluetooth Sensor | Medium | Result must be visible in mobile UI within expected time. | Pending QA |

# URS Section 57 - API behavior

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-057. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-057-01 | Validate sensor data range | Backend API | High | Result must be visible in mobile UI within expected time. | Rejected once |
| URS-057-02 | Show trend chart for 7/30/90 days | Cloud Sync | Low | Audit/event record shall be generated where applicable. | Need SME |
| URS-057-03 | Audit user actions | Notification Service | High | User shall receive clear error message on failure. | Need SME |

# URS Section 58 - Repeated requirement block

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-058. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-058-1: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-058-01 | Biometric login option | Cloud Sync | Medium | Result must be visible in mobile UI within expected time. | In Review |
| URS-058-02 | Export readings as PDF/CSV | Android/iOS | TBD | User shall receive clear error message on failure. | Draft |
| URS-058-03 | Handle offline mode | Android | Medium | TBD by clinical SME - intentionally incomplete. | Draft |
| URS_58.4 | Manual heart rate entry when device unavailable | Backend API | Low | Data shall be encrypted in transit and at rest. | Pending QA |
| URS-058-05 | Show trend chart for 7/30/90 days | Cloud Sync | Medium | User shall receive clear error message on failure. | In Review |

# URS Section 59 - Risk and control mapping

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-059. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-059-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-059-01 | Consent capture and privacy notice | Notification Service | Low | Data shall be encrypted in transit and at rest. | Need SME |
| URS-059-02 | Sync readings to cloud API | iOS | Low | Data shall be encrypted in transit and at rest. | Pending QA |
| URS-059-03 | Handle offline mode | iOS | Low | TBD by clinical SME - intentionally incomplete. | Pending QA |
| URS-059-04 | Capture heart rate from paired device | iOS | High | TBD by clinical SME - intentionally incomplete. | Approved? |

## URS Section 60 - Evidence placeholder

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-060. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-060-2: App shall process heart rate data and preserve timestamp/timezone context.

URS-060-3: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-060-01 | Audit user actions | Backend API | High | Result must be visible in mobile UI within expected time. | Pending QA |
| URS-060-02 | Notification retry and suppression | Backend API | High | Data shall be encrypted in transit and at rest. | Draft |
| URS-060-03 | Display current BPM with timestamp | Android | TBD | TBD by clinical SME - intentionally incomplete. | Rejected once |
| URS-060-04 | Handle offline mode | iOS | Medium | TBD by clinical SME - intentionally incomplete. | Rejected once |

# URS Section 61 - Alert workflow

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-061. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

URS-061-2: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-061-01 | Notification retry and suppression | Android | Not ranked | Result must be visible in mobile UI within expected time. | Need SME |
| URS-061-02 | Validate sensor data range | Notification Service | Not ranked | User shall receive clear error message on failure. | Need SME |
| URS_61.3 | Support caregiver view | Android/iOS | Low | Data shall be encrypted in transit and at rest. | Need SME |

## URS Section 62 - Risk and control mapping

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-062. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-062-01 | Audit user actions | Android | High | TBD by clinical SME - intentionally incomplete. | Draft |
| URS-062-02 | Notification retry and suppression | Backend API | Medium | System shall complete the action without data loss. | Pending QA |
| URS-062-03 | Consent capture and privacy notice | Local DB | Low | Result must be visible in mobile UI within expected time. | Draft |
| URS_62.4 | Manual heart rate entry when device unavailable | Android | High | Audit/event record shall be generated where applicable. | In Review |
| URS-062-05 | Notification retry and suppression | Notification Service | Low | TBD by clinical SME - intentionally incomplete. | Draft |

# URS Section 63 - Open questions

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-063. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-063-01 | Manual heart rate entry when device unavailable | Android/iOS | High | Audit/event record shall be generated where applicable. | Draft |
| URS-063-02 | Consent capture and privacy notice | iOS | Medium | Data shall be encrypted in transit and at rest. | Rejected once |
| URS_63.3 | Biometric login option | Notification Service | Not ranked | User shall receive clear error message on failure. | Need SME |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## URS Section 64 - Traceability notes

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-064. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

URS-064-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-064-01 | Audit user actions | iOS | Not ranked | User shall receive clear error message on failure. | In Review |
| URS-064-02 | Store readings securely on device | Backend API | High | User shall receive clear error message on failure. | In Review |
| URS-064-03 | Biometric login option | Android/iOS | Not ranked | Result must be visible in mobile UI within expected time. | Pending QA |
| URS-064-04 | Battery and Bluetooth warning | Notification Service | Not ranked | System shall complete the action without data loss. | Rejected once |
| URS-064-05 | Show trend chart for 7/30/90 days | Local DB | High | Data shall be encrypted in transit and at rest. | Rejected once |

# URS Section 65 - Requirement details

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-065. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-065-1: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-065-01 | Notification retry and suppression | Local DB | Not ranked | TBD by clinical SME - intentionally incomplete. | Pending QA |
| URS-065-02 | Validate sensor data range | Notification Service | Low | Result must be visible in mobile UI within expected time. | Draft |
| URS-065-03 | Manual heart rate entry when device unavailable | iOS | TBD | Audit/event record shall be generated where applicable. | Need SME |
| URS-065-04 | Show trend chart for 7/30/90 days | Cloud Sync | Low | Result must be visible in mobile UI within expected time. | Approved? |
| URS-065-05 | Handle offline mode | Android/iOS | Low | TBD by clinical SME - intentionally incomplete. | Draft |

Random inserted note: duplicate title appears again below.

## URS Section 65 - Requirement details

# URS Section 66 - Mobile platform variation

duplicate section

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-066. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

URS-066-3: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-066-01 | Display current BPM with timestamp | Notification Service | TBD | User shall receive clear error message on failure. | Approved? |
| URS-066-02 | Export readings as PDF/CSV | Notification Service | TBD | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS-066-03 | Support caregiver view | Android | High | Result must be visible in mobile UI within expected time. | Approved? |
| URS-066-04 | Consent capture and privacy notice | Bluetooth Sensor | Low | User shall receive clear error message on failure. | Draft |

## URS Section 67 - Bluetooth edge cases

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-067. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

URS-067-2: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

URS-067-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-067-01 | Biometric login option | Bluetooth Sensor | High | TBD by clinical SME - intentionally incomplete. | Draft |
| URS-067-02 | Validate sensor data range | Local DB | TBD | System shall complete the action without data loss. | Approved? |
| URS_67.3 | Capture heart rate from paired device | Android/iOS | Medium | Result must be visible in mobile UI within expected time. | Pending QA |
| URS-067-04 | Consent capture and privacy notice | iOS | Medium | Data shall be encrypted in transit and at rest. | Rejected once |
| URS_67.5 | Notification retry and suppression | Cloud Sync | Medium | TBD by clinical SME - intentionally incomplete. | Approved? |

## URS Section 68 - Repeated requirement block

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-068. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-068-1: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-068-01 | Handle offline mode | Cloud Sync | High | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS_68.2 | Display current BPM with timestamp | Notification Service | High | Data shall be encrypted in transit and at rest. | Pending QA |
| URS-068-03 | Consent capture and privacy notice | Local DB | TBD | Data shall be encrypted in transit and at rest. | Pending QA |
| URS_68.4 | Audit user actions | Android | Low | Audit/event record shall be generated where applicable. | Rejected once |
| URS-068-05 | Audit user actions | Bluetooth Sensor | High | User shall receive clear error message on failure. | Pending QA |

# URS Section 69 - Alert workflow

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-069. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-069-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-069-01 | Handle offline mode | Local DB | High | Data shall be encrypted in transit and at rest. | Need SME |
| URS-069-02 | Battery and Bluetooth warning | Notification Service | TBD | TBD by clinical SME - intentionally incomplete. | In Review |
| URS_69.3 | Capture heart rate from paired device | Notification Service | High | TBD by clinical SME - intentionally incomplete. | In Review |

## URS Section 70 - Mobile platform variation

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-070. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-070-1: App shall process heart rate data and preserve timestamp/timezone context.

URS-070-2: App shall process heart rate data and preserve timestamp/timezone context.

URS-070-3: App shall process heart rate data and preserve timestamp/timezone context.

URS-070-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-070-01 | Audit user actions | Android/iOS | Not ranked | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS-070-02 | Battery and Bluetooth warning | Cloud Sync | Low | Audit/event record shall be generated where applicable. | Draft |
| URS-070-03 | Notification retry and suppression | Local DB | High | TBD by clinical SME - intentionally incomplete. | Need SME |

## URS Section 71 - Alert workflow

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-071. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS_71.1 | Battery and Bluetooth warning | Notification Service | TBD | TBD by clinical SME - intentionally incomplete. | In Review |
| URS-071-02 | Show trend chart for 7/30/90 days | Bluetooth Sensor | Low | TBD by clinical SME - intentionally incomplete. | Rejected once |
| URS-071-03 | Audit user actions | iOS | Low | Result must be visible in mobile UI within expected time. | Rejected once |
| URS-071-04 | Support caregiver view | Backend API | Not ranked | Data shall be encrypted in transit and at rest. | Rejected once |

## URS Section 72 - Requirement details

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-072. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-072-1: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

URS-072-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-072-01 | Show trend chart for 7/30/90 days | iOS | TBD | System shall complete the action without data loss. | Draft |
| URS-072-02 | Sync readings to cloud API | Android | Not ranked | Audit/event record shall be generated where applicable. | Draft |
| URS-072-03 | Audit user actions | Local DB | Low | System shall complete the action without data loss. | Pending QA |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# URS Section 73 - Requirement details

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-073. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS_73.1 | Show trend chart for 7/30/90 days | Backend API | High | TBD by clinical SME - intentionally incomplete. | Approved? |
| URS-073-02 | Display current BPM with timestamp | Notification Service | Low | System shall complete the action without data loss. | Approved? |
| URS_73.3 | Export readings as PDF/CSV | Bluetooth Sensor | Medium | Audit/event record shall be generated where applicable. | Draft |
| URS-073-04 | Display current BPM with timestamp | iOS | TBD | User shall receive clear error message on failure. | Need SME |
| URS_73.5 | Handle offline mode | Bluetooth Sensor | Not ranked | Result must be visible in mobile UI within expected time. | Rejected once |

# URS Section 74 - Open questions

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-074. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-074-01 | Manual heart rate entry when device unavailable | Bluetooth Sensor | Not ranked | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS-074-02 | Support caregiver view | Backend API | Medium | Audit/event record shall be generated where applicable. | Approved? |
| URS-074-03 | Store readings securely on device | Local DB | High | Result must be visible in mobile UI within expected time. | Rejected once |
| URS_74.4 | Capture heart rate from paired device | Bluetooth Sensor | Not ranked | User shall receive clear error message on failure. | Need SME |
| URS-074-05 | Capture heart rate from paired device | Android | High | Result must be visible in mobile UI within expected time. | Approved? |

# URS Section 75 - Audit trail mapping

manual note

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-075. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-075-01 | Capture heart rate from paired device | Cloud Sync | Medium | Result must be visible in mobile UI within expected time. | Approved? |
| URS-075-02 | Battery and Bluetooth warning | Backend API | Not ranked | User shall receive clear error message on failure. | Need SME |
| URS_75.3 | Notification retry and suppression | Bluetooth Sensor | Not ranked | System shall complete the action without data loss. | In Review |

# URS Section 76 - Evidence placeholder

RAG TEST CHUNK

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-076. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

URS-076-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-076-01 | Notification retry and suppression | Android/iOS | TBD | User shall receive clear error message on failure. | In Review |
| URS-076-02 | Consent capture and privacy notice | Cloud Sync | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS-076-03 | Handle offline mode | Cloud Sync | High | Result must be visible in mobile UI within expected time. | Draft |

# URS Section 77 - API behavior

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-077. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-077-01 | Capture heart rate from paired device | Android/iOS | TBD | Result must be visible in mobile UI within expected time. | Draft |
| URS-077-02 | Notification retry and suppression | Local DB | TBD | User shall receive clear error message on failure. | Need SME |
| URS-077-03 | Show trend chart for 7/30/90 days | Cloud Sync | Low | Data shall be encrypted in transit and at rest. | Need SME |
| URS-077-04 | Capture heart rate from paired device | Cloud Sync | Low | Data shall be encrypted in transit and at rest. | Rejected once |
| URS-077-05 | Display current BPM with timestamp | Bluetooth Sensor | TBD | Result must be visible in mobile UI within expected time. | Pending QA |

# URS Section 78 - Exception handling

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-078. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

URS-078-2: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-078-01 | Generate high/low heart-rate alert | Cloud Sync | High | Result must be visible in mobile UI within expected time. | Pending QA |
| URS-078-02 | Show trend chart for 7/30/90 days | iOS | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |
| URS-078-03 | Export readings as PDF/CSV | Bluetooth Sensor | Not ranked | Data shall be encrypted in transit and at rest. | Need SME |

Random inserted note: duplicate title appears again below.

## URS Section 78 - Exception handling

# URS Section 79 - Data handling notes

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-079. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

URS-079-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-079-01 | Consent capture and privacy notice | Local DB | Low | Result must be visible in mobile UI within expected time. | Draft |
| URS_79.2 | Consent capture and privacy notice | Android/iOS | TBD | TBD by clinical SME - intentionally incomplete. | Pending QA |
| URS_79.3 | Battery and Bluetooth warning | Cloud Sync | Not ranked | Data shall be encrypted in transit and at rest. | Pending QA |

## URS Section 80 - Data handling notes

manual note

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-080. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-080-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-080-01 | Audit user actions | Cloud Sync | Not ranked | Audit/event record shall be generated where applicable. | Pending QA |
| URS-080-02 | Notification retry and suppression | Local DB | TBD | Result must be visible in mobile UI within expected time. | In Review |
| URS-080-03 | Consent capture and privacy notice | Bluetooth Sensor | Low | Audit/event record shall be generated where applicable. | Pending QA |
| URS-080-04 | Display current BPM with timestamp | Backend API | High | User shall receive clear error message on failure. | Pending QA |
| URS-080-05 | Sync readings to cloud API | Local DB | Not ranked | Data shall be encrypted in transit and at rest. | Rejected once |

## URS Section 81 - Test condition table

??

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-081. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-081-01 | Handle offline mode | Backend API | Not ranked | System shall complete the action without data loss. | Approved? |
| URS_81.2 | Show trend chart for 7/30/90 days | Android/iOS | Low | Audit/event record shall be generated where applicable. | Rejected once |
| URS-081-03 | Audit user actions | Backend API | Not ranked | System shall complete the action without data loss. | In Review |
| URS-081-04 | Notification retry and suppression | Backend API | Not ranked | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS-081-05 | Support caregiver view | Bluetooth Sensor | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# URS Section 82 - Bluetooth edge cases

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-082. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-082-01 | Manual heart rate entry when device unavailable | Notification Service | High | Result must be visible in mobile UI within expected time. | Rejected once |
| URS_82.2 | Support caregiver view | Local DB | High | Result must be visible in mobile UI within expected time. | In Review |
| URS-082-03 | Manual heart rate entry when device unavailable | Android/iOS | Medium | User shall receive clear error message on failure. | Rejected once |
| URS-082-04 | Show trend chart for 7/30/90 days | Bluetooth Sensor | Low | User shall receive clear error message on failure. | Need SME |
| URS_82.5 | Display current BPM with timestamp | Android | Not ranked | TBD by clinical SME - intentionally incomplete. | In Review |

# URS Section 83 - Repeated requirement block

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-083. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-083-1: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-083-01 | Handle offline mode | Backend API | Not ranked | Data shall be encrypted in transit and at rest. | Draft |
| URS-083-02 | Handle offline mode | Local DB | TBD | Data shall be encrypted in transit and at rest. | Approved? |
| URS-083-03 | Sync readings to cloud API | Notification Service | TBD | Data shall be encrypted in transit and at rest. | Approved? |
| URS-083-04 | Support caregiver view | Android | TBD | Audit/event record shall be generated where applicable. | Pending QA |

# URS Section 84 - Open questions

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-084. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-084-01 | Biometric login option | Android | Low | Data shall be encrypted in transit and at rest. | Rejected once |
| URS_84.2 | Export readings as PDF/CSV | Backend API | Medium | User shall receive clear error message on failure. | In Review |
| URS-084-03 | Handle offline mode | Android | TBD | Audit/event record shall be generated where applicable. | Approved? |
| URS-084-04 | Store readings securely on device | Notification Service | Low | TBD by clinical SME - intentionally incomplete. | Rejected once |

## URS Section 85 - Traceability notes

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-085. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS_85.1 | Capture heart rate from paired device | Cloud Sync | Low | TBD by clinical SME - intentionally incomplete. | Approved? |
| URS-085-02 | Handle offline mode | iOS | Not ranked | Audit/event record shall be generated where applicable. | Draft |
| URS-085-03 | Manual heart rate entry when device unavailable | Bluetooth Sensor | High | User shall receive clear error message on failure. | Rejected once |

# URS Section 86 - Data handling notes

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-086. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-086-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-086-01 | Handle offline mode | Local DB | TBD | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS-086-02 | Validate sensor data range | Local DB | Low | Audit/event record shall be generated where applicable. | Need SME |
| URS-086-03 | Audit user actions | Android/iOS | Low | TBD by clinical SME - intentionally incomplete. | In Review |
| URS-086-04 | Capture heart rate from paired device | Backend API | Medium | Data shall be encrypted in transit and at rest. | Approved? |
| URS-086-05 | Handle offline mode | Bluetooth Sensor | Medium | TBD by clinical SME - intentionally incomplete. | Approved? |

# URS Section 87 - Traceability notes

old text retained

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-087. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

URS-087-2: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-087-01 | Capture heart rate from paired device | Android | Medium | Data shall be encrypted in transit and at rest. | In Review |
| URS-087-02 | Validate sensor data range | Android/iOS | Low | System shall complete the action without data loss. | Need SME |
| URS-087-03 | Show trend chart for 7/30/90 days | Bluetooth Sensor | Not ranked | Result must be visible in mobile UI within expected time. | Pending QA |

## URS Section 88 - Test condition table

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-088. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-088-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-088-01 | Generate high/low heart-rate alert | iOS | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |
| URS-088-02 | Export readings as PDF/CSV | Cloud Sync | Medium | Data shall be encrypted in transit and at rest. | Pending QA |
| URS-088-03 | Audit user actions | iOS | Low | Data shall be encrypted in transit and at rest. | Pending QA |

# URS Section 89 - Open questions

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-089. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-089-01 | Sync readings to cloud API | Local DB | Low | User shall receive clear error message on failure. | Approved? |
| URS_89.2 | Support caregiver view | Notification Service | Medium | System shall complete the action without data loss. | Draft |
| URS-089-03 | Support caregiver view | iOS | Medium | Result must be visible in mobile UI within expected time. | Need SME |
| URS-089-04 | Battery and Bluetooth warning | Local DB | Medium | Result must be visible in mobile UI within expected time. | Approved? |

## URS Section 90 - Repeated requirement block

duplicate section

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-090. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-090-01 | Consent capture and privacy notice | Bluetooth Sensor | Low | User shall receive clear error message on failure. | In Review |
| URS_90.2 | Validate sensor data range | Android | Not ranked | Audit/event record shall be generated where applicable. | In Review |
| URS-090-03 | Generate high/low heart-rate alert | Bluetooth Sensor | TBD | Data shall be encrypted in transit and at rest. | In Review |
| URS-090-04 | Store readings securely on device | Android | TBD | Result must be visible in mobile UI within expected time. | Draft |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# URS Section 91 - UI behavior

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-091. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-091-01 | Notification retry and suppression | Notification Service | Low | System shall complete the action without data loss. | Need SME |
| URS_91.2 | Handle offline mode | Notification Service | TBD | Data shall be encrypted in transit and at rest. | Pending QA |
| URS-091-03 | Battery and Bluetooth warning | Bluetooth Sensor | TBD | TBD by clinical SME - intentionally incomplete. | Rejected once |
| URS_91.4 | Manual heart rate entry when device unavailable | Local DB | High | Data shall be encrypted in transit and at rest. | Draft |

Random inserted note: duplicate title appears again below.

## URS Section 91 - UI behavior

## URS Section 92 - Data handling notes

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-092. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS_92.1 | Show trend chart for 7/30/90 days | Bluetooth Sensor | Low | Audit/event record shall be generated where applicable. | Rejected once |
| URS-092-02 | Notification retry and suppression | iOS | Low | System shall complete the action without data loss. | Rejected once |
| URS-092-03 | Audit user actions | Notification Service | Low | TBD by clinical SME - intentionally incomplete. | In Review |
| URS-092-04 | Consent capture and privacy notice | Local DB | Medium | System shall complete the action without data loss. | Draft |
| URS-092-05 | Display current BPM with timestamp | Android | Not ranked | System shall complete the action without data loss. | Approved? |

# URS Section 93 - Audit trail mapping

manual note

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-093. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-093-3: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS_93.1 | Export readings as PDF/CSV | Backend API | High | TBD by clinical SME - intentionally incomplete. | Approved? |
| URS-093-02 | Support caregiver view | Local DB | Not ranked | User shall receive clear error message on failure. | Need SME |
| URS-093-03 | Sync readings to cloud API | Backend API | Not ranked | User shall receive clear error message on failure. | Rejected once |

# URS Section 94 - Alert workflow

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-094. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-094-01 | Manual heart rate entry when device unavailable | Backend API | High | User shall receive clear error message on failure. | Approved? |
| URS-094-02 | Support caregiver view | iOS | TBD | TBD by clinical SME - intentionally incomplete. | In Review |
| URS_94.3 | Generate high/low heart-rate alert | Bluetooth Sensor | Not ranked | Audit/event record shall be generated where applicable. | Approved? |
| URS-094-04 | Display current BPM with timestamp | Bluetooth Sensor | Medium | Audit/event record shall be generated where applicable. | Rejected once |
| URS_94.5 | Capture heart rate from paired device | Android | Low | Data shall be encrypted in transit and at rest. | Rejected once |

## URS Section 95 - Open questions

missing owner

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-095. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

URS-095-2: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-095-01 | Generate high/low heart-rate alert | Notification Service | TBD | TBD by clinical SME - intentionally incomplete. | Rejected once |
| URS_95.2 | Consent capture and privacy notice | Cloud Sync | Low | User shall receive clear error message on failure. | In Review |
| URS-095-03 | Display current BPM with timestamp | Android | Not ranked | TBD by clinical SME - intentionally incomplete. | In Review |
| URS_95.4 | Biometric login option | iOS | TBD | Result must be visible in mobile UI within expected time. | Rejected once |
| URS-095-05 | Handle offline mode | iOS | Medium | Data shall be encrypted in transit and at rest. | Need SME |

# URS Section 96 - Requirement details

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-096. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

URS-096-2: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-096-01 | Biometric login option | Bluetooth Sensor | Not ranked | TBD by clinical SME - intentionally incomplete. | Rejected once |
| URS-096-02 | Manual heart rate entry when device unavailable | Backend API | TBD | TBD by clinical SME - intentionally incomplete. | Draft |
| URS-096-03 | Export readings as PDF/CSV | Backend API | Medium | Result must be visible in mobile UI within expected time. | In Review |
| URS-096-04 | Display current BPM with timestamp | Cloud Sync | Not ranked | System shall complete the action without data loss. | Pending QA |
| URS_96.5 | Audit user actions | Android | TBD | System shall complete the action without data loss. | Approved? |

## URS Section 97 - API behavior

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-097. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

URS-097-3: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-097-01 | Display current BPM with timestamp | Backend API | TBD | Result must be visible in mobile UI within expected time. | Approved? |
| URS-097-02 | Sync readings to cloud API | Backend API | Not ranked | Audit/event record shall be generated where applicable. | Pending QA |
| URS-097-03 | Sync readings to cloud API | Android/iOS | Not ranked | TBD by clinical SME - intentionally incomplete. | In Review |
| URS-097-04 | Notification retry and suppression | Notification Service | Low | System shall complete the action without data loss. | Draft |

## URS Section 98 - Requirement details

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-098. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

URS-098-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-098-01 | Generate high/low heart-rate alert | Local DB | Medium | Audit/event record shall be generated where applicable. | Approved? |
| URS-098-02 | Display current BPM with timestamp | iOS | High | Result must be visible in mobile UI within expected time. | Approved? |
| URS_98.3 | Validate sensor data range | Bluetooth Sensor | Low | Data shall be encrypted in transit and at rest. | Approved? |
| URS-098-04 | Biometric login option | iOS | Not ranked | System shall complete the action without data loss. | Pending QA |

# URS Section 99 - API behavior

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-099. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-099-01 | Notification retry and suppression | Backend API | Low | User shall receive clear error message on failure. | In Review |
| URS-099-02 | Battery and Bluetooth warning | Bluetooth Sensor | Low | System shall complete the action without data loss. | In Review |
| URS-099-03 | Audit user actions | Android/iOS | Low | Result must be visible in mobile UI within expected time. | Draft |
| URS_99.4 | Sync readings to cloud API | Local DB | Medium | User shall receive clear error message on failure. | Approved? |
| URS-099-05 | Manual heart rate entry when device unavailable | Cloud Sync | High | User shall receive clear error message on failure. | Approved? |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## URS Section 100 - Audit trail mapping

This page belongs to User Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: URS-100. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

URS-100-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| URS-100-01 | Biometric login option | Bluetooth Sensor | Low | Result must be visible in mobile UI within expected time. | Need SME |
| URS-100-02 | Battery and Bluetooth warning | Notification Service | TBD | Audit/event record shall be generated where applicable. | Pending QA |
| URS_100.3 | Capture heart rate from paired device | Backend API | Not ranked | Data shall be encrypted in transit and at rest. | Pending QA |
| URS_100.4 | Notification retry and suppression | Bluetooth Sensor | Medium | User shall receive clear error message on failure. | Pending QA |