Document 2 - FRS - Heart Rate Monitor Application

Application: Heart Rate Monitor for Android and iOS

Document state: DRAFT / uncontrolled / deliberately messy for parser testing

Note: This is synthetic test material only. It is not approved medical-device validation content.

Revision table is mixed below; some rows intentionally repeat or omit values.

| Version | Date | Author | Change |
| --- | --- | --- | --- |
| 0.1 | 2026-05-18 | QA/BA | Initial messy draft |
| 1.0? | TBD | SME? | Imported from old template |
| 0.2 | missing | AI Test | duplicate version row |

This FRS converts user needs into functional behavior for heart-rate capture, display, alerts, history, exports, authentication, privacy, and device connectivity. Formatting and numbering are deliberately inconsistent.

# FRS Section 2 - Cover / uncontrolled draft

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-002. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-002-01 | Biometric login option | Cloud Sync | Not ranked | Audit/event record shall be generated where applicable. | Need SME |
| FRS-002-02 | Audit user actions | Android | Low | User shall receive clear error message on failure. | Pending QA |
| FRS-002-03 | Notification retry and suppression | Android/iOS | TBD | Result must be visible in mobile UI within expected time. | Draft |
| FRS-002-04 | Store readings securely on device | Android | TBD | Result must be visible in mobile UI within expected time. | Draft |

## FRS Section 3 - Abbreviations mixed list

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-003. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-003-1: App shall process heart rate data and preserve timestamp/timezone context.

FRS-003-2: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

FRS-003-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_3.1 | Store readings securely on device | Bluetooth Sensor | TBD | User shall receive clear error message on failure. | Rejected once |
| FRS-003-02 | Consent capture and privacy notice | Local DB | TBD | Data shall be encrypted in transit and at rest. | Pending QA |
| FRS-003-03 | Show trend chart for 7/30/90 days | Notification Service | TBD | User shall receive clear error message on failure. | Draft |

## FRS Section 4 - Document purpose

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-004. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-004-01 | Handle offline mode | Backend API | TBD | System shall complete the action without data loss. | Approved? |
| FRS-004-02 | Consent capture and privacy notice | Local DB | Not ranked | TBD by clinical SME - intentionally incomplete. | Rejected once |
| FRS-004-03 | Sync readings to cloud API | Android | Not ranked | Result must be visible in mobile UI within expected time. | Pending QA |
| FRS-004-04 | Notification retry and suppression | Notification Service | High | User shall receive clear error message on failure. | Rejected once |
| FRS-004-05 | Biometric login option | Android/iOS | TBD | System shall complete the action without data loss. | Approved? |

## FRS Section 5 - Scope and non-scope

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-005. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_5.1 | Capture heart rate from paired device | Backend API | Not ranked | Audit/event record shall be generated where applicable. | Need SME |
| FRS_5.2 | Battery and Bluetooth warning | Cloud Sync | Not ranked | Audit/event record shall be generated where applicable. | Pending QA |
| FRS-005-03 | Biometric login option | Cloud Sync | Not ranked | Audit/event record shall be generated where applicable. | Draft |

## FRS Section 6 - System overview

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-006. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

FRS-006-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-006-01 | Notification retry and suppression | Cloud Sync | TBD | Result must be visible in mobile UI within expected time. | In Review |
| FRS_6.2 | Display current BPM with timestamp | Android | Low | Data shall be encrypted in transit and at rest. | Need SME |
| FRS_6.3 | Store readings securely on device | Cloud Sync | TBD | Audit/event record shall be generated where applicable. | In Review |
| FRS-006-04 | Validate sensor data range | Backend API | TBD | Audit/event record shall be generated where applicable. | Need SME |

# FRS Section 7 - Mobile app overview

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-007. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-007-1: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-007-01 | Validate sensor data range | Android/iOS | TBD | Audit/event record shall be generated where applicable. | Draft |
| FRS-007-02 | Export readings as PDF/CSV | Bluetooth Sensor | Not ranked | System shall complete the action without data loss. | Draft |
| FRS-007-03 | Store readings securely on device | Android | Low | User shall receive clear error message on failure. | Pending QA |

# FRS Section 8 - User roles

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-008. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_8.1 | Store readings securely on device | Android | TBD | User shall receive clear error message on failure. | Approved? |
| FRS-008-02 | Validate sensor data range | Android | TBD | User shall receive clear error message on failure. | Rejected once |
| FRS-008-03 | Support caregiver view | Backend API | TBD | Result must be visible in mobile UI within expected time. | Draft |
| FRS-008-04 | Store readings securely on device | Android | Medium | Audit/event record shall be generated where applicable. | Draft |

# FRS Section 9 - Regulatory notes

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-009. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-009-1: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

FRS-009-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-009-01 | Battery and Bluetooth warning | Android | TBD | User shall receive clear error message on failure. | Approved? |
| FRS-009-02 | Export readings as PDF/CSV | Bluetooth Sensor | High | User shall receive clear error message on failure. | Need SME |
| FRS-009-03 | Manual heart rate entry when device unavailable | Bluetooth Sensor | Medium | Data shall be encrypted in transit and at rest. | In Review |
| FRS-009-04 | Battery and Bluetooth warning | Backend API | TBD | User shall receive clear error message on failure. | Need SME |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# FRS Section 10 - Data privacy notes

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-010. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-010-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

FRS-010-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-010-01 | Capture heart rate from paired device | Bluetooth Sensor | Low | TBD by clinical SME - intentionally incomplete. | Approved? |
| FRS_10.2 | Validate sensor data range | Notification Service | Low | Result must be visible in mobile UI within expected time. | Pending QA |
| FRS-010-03 | Store readings securely on device | Notification Service | High | Data shall be encrypted in transit and at rest. | Approved? |

# FRS Section 11 - High level assumptions

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-011. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-011-01 | Generate high/low heart-rate alert | Backend API | Medium | User shall receive clear error message on failure. | Pending QA |
| FRS-011-02 | Notification retry and suppression | Notification Service | TBD | User shall receive clear error message on failure. | Rejected once |
| FRS-011-03 | Export readings as PDF/CSV | Notification Service | Low | Data shall be encrypted in transit and at rest. | Draft |
| FRS-011-04 | Display current BPM with timestamp | Cloud Sync | Medium | System shall complete the action without data loss. | Need SME |

## FRS Section 12 - Cover / uncontrolled draft

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-012. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-012-01 | Biometric login option | Local DB | Low | Result must be visible in mobile UI within expected time. | Draft |
| FRS_12.2 | Support caregiver view | Notification Service | Medium | System shall complete the action without data loss. | Draft |
| FRS-012-03 | Handle offline mode | iOS | Low | Result must be visible in mobile UI within expected time. | Rejected once |
| FRS-012-04 | Export readings as PDF/CSV | iOS | High | System shall complete the action without data loss. | Rejected once |

## FRS Section 13 - Abbreviations mixed list

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-013. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-013-01 | Sync readings to cloud API | iOS | Low | Result must be visible in mobile UI within expected time. | In Review |
| FRS-013-02 | Validate sensor data range | iOS | High | Audit/event record shall be generated where applicable. | Approved? |
| FRS-013-03 | Validate sensor data range | Backend API | Low | User shall receive clear error message on failure. | In Review |

Random inserted note: duplicate title appears again below.

## FRS Section 13 - Abbreviations mixed list

## FRS Section 14 - Document purpose

RAG TEST CHUNK

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-014. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

FRS-014-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_14.1 | Consent capture and privacy notice | Android/iOS | TBD | User shall receive clear error message on failure. | Need SME |
| FRS-014-02 | Battery and Bluetooth warning | Notification Service | Not ranked | Data shall be encrypted in transit and at rest. | Need SME |
| FRS-014-03 | Biometric login option | Backend API | High | Audit/event record shall be generated where applicable. | Approved? |
| FRS-014-04 | Consent capture and privacy notice | Cloud Sync | Low | Result must be visible in mobile UI within expected time. | Pending QA |
| FRS-014-05 | Validate sensor data range | Local DB | High | System shall complete the action without data loss. | Rejected once |

# FRS Section 15 - Exception handling

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-015. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_15.1 | Support caregiver view | Android | Not ranked | User shall receive clear error message on failure. | In Review |
| FRS-015-02 | Validate sensor data range | Backend API | High | Result must be visible in mobile UI within expected time. | Pending QA |
| FRS-015-03 | Support caregiver view | Bluetooth Sensor | Not ranked | TBD by clinical SME - intentionally incomplete. | Rejected once |
| FRS-015-04 | Generate high/low heart-rate alert | Android/iOS | Not ranked | User shall receive clear error message on failure. | Pending QA |

# FRS Section 16 - UI behavior

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-016. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

FRS-016-3: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_16.1 | Validate sensor data range | Notification Service | Not ranked | TBD by clinical SME - intentionally incomplete. | Pending QA |
| FRS-016-02 | Export readings as PDF/CSV | Notification Service | Not ranked | Data shall be encrypted in transit and at rest. | Approved? |
| FRS-016-03 | Support caregiver view | Notification Service | Not ranked | Data shall be encrypted in transit and at rest. | Approved? |

## FRS Section 17 - Risk and control mapping

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-017. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-017-01 | Manual heart rate entry when device unavailable | Android/iOS | Medium | Audit/event record shall be generated where applicable. | Pending QA |
| FRS-017-02 | Display current BPM with timestamp | Android | Low | Result must be visible in mobile UI within expected time. | Pending QA |
| FRS-017-03 | Sync readings to cloud API | Android | Medium | User shall receive clear error message on failure. | Approved? |
| FRS-017-04 | Handle offline mode | Cloud Sync | Not ranked | User shall receive clear error message on failure. | Draft |
| FRS-017-05 | Battery and Bluetooth warning | iOS | Low | Result must be visible in mobile UI within expected time. | Pending QA |

## FRS Section 18 - Audit trail mapping

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-018. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-018-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-018-01 | Store readings securely on device | Notification Service | Low | Data shall be encrypted in transit and at rest. | Need SME |
| FRS-018-02 | Notification retry and suppression | iOS | Not ranked | User shall receive clear error message on failure. | Pending QA |
| FRS-018-03 | Sync readings to cloud API | Bluetooth Sensor | High | System shall complete the action without data loss. | Draft |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# FRS Section 19 - Test condition table

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-019. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-019-01 | Display current BPM with timestamp | Android/iOS | Low | Result must be visible in mobile UI within expected time. | Rejected once |
| FRS-019-02 | Handle offline mode | iOS | Low | Data shall be encrypted in transit and at rest. | In Review |
| FRS_19.3 | Display current BPM with timestamp | iOS | Medium | Result must be visible in mobile UI within expected time. | Need SME |
| FRS-019-04 | Notification retry and suppression | Bluetooth Sensor | Medium | Data shall be encrypted in transit and at rest. | Approved? |

## FRS Section 20 - Evidence placeholder

OCR noisy line

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-020. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-020-1: App shall process heart rate data and preserve timestamp/timezone context.

FRS-020-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-020-01 | Generate high/low heart-rate alert | Notification Service | Medium | Result must be visible in mobile UI within expected time. | Need SME |
| FRS_20.2 | Battery and Bluetooth warning | iOS | High | Result must be visible in mobile UI within expected time. | Need SME |
| FRS-020-03 | Sync readings to cloud API | iOS | Not ranked | TBD by clinical SME - intentionally incomplete. | Approved? |

## FRS Section 21 - Security and privacy

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-021. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-021-01 | Handle offline mode | iOS | High | User shall receive clear error message on failure. | Approved? |
| FRS-021-02 | Sync readings to cloud API | Local DB | TBD | Result must be visible in mobile UI within expected time. | Rejected once |
| FRS-021-03 | Biometric login option | Android | Low | TBD by clinical SME - intentionally incomplete. | Draft |
| FRS-021-04 | Sync readings to cloud API | Cloud Sync | High | Data shall be encrypted in transit and at rest. | Pending QA |
| FRS-021-05 | Capture heart rate from paired device | Bluetooth Sensor | High | Result must be visible in mobile UI within expected time. | Rejected once |

## FRS Section 22 - API behavior

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-022. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

FRS-022-3: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-022-01 | Export readings as PDF/CSV | Bluetooth Sensor | Medium | Data shall be encrypted in transit and at rest. | Rejected once |
| FRS-022-02 | Validate sensor data range | Local DB | Low | Audit/event record shall be generated where applicable. | Pending QA |
| FRS_22.3 | Handle offline mode | Notification Service | TBD | Result must be visible in mobile UI within expected time. | Need SME |

# FRS Section 23 - Requirement details

??

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-023. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-023-1: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-023-01 | Consent capture and privacy notice | Android/iOS | Medium | Data shall be encrypted in transit and at rest. | In Review |
| FRS-023-02 | Show trend chart for 7/30/90 days | Backend API | Medium | Audit/event record shall be generated where applicable. | Pending QA |
| FRS-023-03 | Display current BPM with timestamp | Backend API | Low | Audit/event record shall be generated where applicable. | Need SME |
| FRS-023-04 | Sync readings to cloud API | Cloud Sync | High | Result must be visible in mobile UI within expected time. | Rejected once |
| FRS-023-05 | Consent capture and privacy notice | Backend API | TBD | System shall complete the action without data loss. | Approved? |

# FRS Section 24 - Security and privacy

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-024. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-024-01 | Show trend chart for 7/30/90 days | Backend API | TBD | Audit/event record shall be generated where applicable. | In Review |
| FRS_24.2 | Sync readings to cloud API | iOS | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |
| FRS_24.3 | Display current BPM with timestamp | iOS | Medium | Result must be visible in mobile UI within expected time. | Rejected once |
| FRS_24.4 | Validate sensor data range | Local DB | Low | System shall complete the action without data loss. | Draft |

# FRS Section 25 - Bluetooth edge cases

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-025. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-025-1: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-025-01 | Export readings as PDF/CSV | Bluetooth Sensor | Medium | User shall receive clear error message on failure. | Pending QA |
| FRS-025-02 | Sync readings to cloud API | Backend API | High | User shall receive clear error message on failure. | Pending QA |
| FRS_25.3 | Battery and Bluetooth warning | Bluetooth Sensor | Not ranked | Data shall be encrypted in transit and at rest. | Draft |
| FRS_25.4 | Support caregiver view | Bluetooth Sensor | Low | Audit/event record shall be generated where applicable. | Approved? |
| FRS-025-05 | Biometric login option | Android | TBD | Result must be visible in mobile UI within expected time. | Rejected once |

## FRS Section 26 - Evidence placeholder

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-026. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-026-01 | Display current BPM with timestamp | Bluetooth Sensor | TBD | System shall complete the action without data loss. | Need SME |
| FRS-026-02 | Sync readings to cloud API | Backend API | Medium | System shall complete the action without data loss. | In Review |
| FRS-026-03 | Manual heart rate entry when device unavailable | Notification Service | Medium | TBD by clinical SME - intentionally incomplete. | Approved? |
| FRS-026-04 | Display current BPM with timestamp | Cloud Sync | TBD | System shall complete the action without data loss. | Need SME |

Random inserted note: duplicate title appears again below.

## FRS Section 26 - Evidence placeholder

## FRS Section 27 - Open questions

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-027. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

FRS-027-2: App shall process heart rate data and preserve timestamp/timezone context.

FRS-027-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-027-01 | Capture heart rate from paired device | Notification Service | Low | Result must be visible in mobile UI within expected time. | Need SME |
| FRS-027-02 | Validate sensor data range | Backend API | Medium | System shall complete the action without data loss. | Need SME |
| FRS-027-03 | Battery and Bluetooth warning | Cloud Sync | Medium | User shall receive clear error message on failure. | Need SME |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## FRS Section 28 - Risk and control mapping

missing owner

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-028. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_28.1 | Export readings as PDF/CSV | Local DB | High | TBD by clinical SME - intentionally incomplete. | Approved? |
| FRS-028-02 | Show trend chart for 7/30/90 days | Local DB | Medium | Result must be visible in mobile UI within expected time. | Need SME |
| FRS-028-03 | Handle offline mode | Android | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |
| FRS-028-04 | Biometric login option | Android | TBD | User shall receive clear error message on failure. | Pending QA |

# FRS Section 29 - Mobile platform variation

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-029. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-029-1: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-029-01 | Manual heart rate entry when device unavailable | Notification Service | Not ranked | Result must be visible in mobile UI within expected time. | Need SME |
| FRS-029-02 | Manual heart rate entry when device unavailable | Bluetooth Sensor | TBD | TBD by clinical SME - intentionally incomplete. | In Review |
| FRS_29.3 | Generate high/low heart-rate alert | Android | Not ranked | Audit/event record shall be generated where applicable. | Draft |
| FRS-029-04 | Export readings as PDF/CSV | Notification Service | Low | System shall complete the action without data loss. | In Review |

## FRS Section 30 - Alert workflow

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-030. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

FRS-030-2: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

FRS-030-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-030-01 | Battery and Bluetooth warning | Android/iOS | High | User shall receive clear error message on failure. | Draft |
| FRS_30.2 | Audit user actions | Local DB | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |
| FRS_30.3 | Manual heart rate entry when device unavailable | Backend API | TBD | System shall complete the action without data loss. | Approved? |
| FRS-030-04 | Support caregiver view | Cloud Sync | TBD | System shall complete the action without data loss. | Need SME |
| FRS-030-05 | Show trend chart for 7/30/90 days | Local DB | Not ranked | Audit/event record shall be generated where applicable. | Draft |

# FRS Section 31 - Requirement details

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-031. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

FRS-031-2: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-031-01 | Sync readings to cloud API | Cloud Sync | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |
| FRS-031-02 | Biometric login option | iOS | High | User shall receive clear error message on failure. | Draft |
| FRS-031-03 | Consent capture and privacy notice | Backend API | Not ranked | TBD by clinical SME - intentionally incomplete. | Approved? |

## FRS Section 32 - Risk and control mapping

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-032. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

FRS-032-2: App shall process heart rate data and preserve timestamp/timezone context.

FRS-032-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-032-01 | Biometric login option | Backend API | Medium | Data shall be encrypted in transit and at rest. | Draft |
| FRS_32.2 | Notification retry and suppression | Local DB | Not ranked | Result must be visible in mobile UI within expected time. | Approved? |
| FRS-032-03 | Generate high/low heart-rate alert | iOS | Not ranked | User shall receive clear error message on failure. | Need SME |
| FRS-032-04 | Export readings as PDF/CSV | iOS | Not ranked | Audit/event record shall be generated where applicable. | Rejected once |
| FRS_32.5 | Show trend chart for 7/30/90 days | Notification Service | TBD | Audit/event record shall be generated where applicable. | Pending QA |

## FRS Section 33 - Traceability notes

v0.1/v1.0 mixed

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-033. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-033-01 | Store readings securely on device | Bluetooth Sensor | TBD | Result must be visible in mobile UI within expected time. | Rejected once |
| FRS-033-02 | Sync readings to cloud API | Bluetooth Sensor | TBD | System shall complete the action without data loss. | Approved? |
| FRS-033-03 | Capture heart rate from paired device | Local DB | TBD | User shall receive clear error message on failure. | Need SME |
| FRS-033-04 | Validate sensor data range | Android/iOS | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |

# FRS Section 34 - Test condition table

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-034. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-034-1: App shall process heart rate data and preserve timestamp/timezone context.

FRS-034-2: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-034-01 | Manual heart rate entry when device unavailable | Cloud Sync | Not ranked | User shall receive clear error message on failure. | Approved? |
| FRS-034-02 | Manual heart rate entry when device unavailable | Bluetooth Sensor | Medium | System shall complete the action without data loss. | Draft |
| FRS-034-03 | Support caregiver view | Android | TBD | Data shall be encrypted in transit and at rest. | Rejected once |

## FRS Section 35 - Alert workflow

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-035. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-035-01 | Show trend chart for 7/30/90 days | Android | Low | TBD by clinical SME - intentionally incomplete. | Need SME |
| FRS-035-02 | Handle offline mode | Android/iOS | Medium | System shall complete the action without data loss. | Need SME |
| FRS-035-03 | Manual heart rate entry when device unavailable | Local DB | High | System shall complete the action without data loss. | Draft |

## FRS Section 36 - Traceability notes

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-036. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-036-1: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-036-01 | Handle offline mode | iOS | High | Result must be visible in mobile UI within expected time. | Approved? |
| FRS-036-02 | Battery and Bluetooth warning | Android/iOS | TBD | System shall complete the action without data loss. | Rejected once |
| FRS-036-03 | Export readings as PDF/CSV | iOS | TBD | TBD by clinical SME - intentionally incomplete. | In Review |
| FRS-036-04 | Consent capture and privacy notice | Notification Service | Low | Result must be visible in mobile UI within expected time. | Pending QA |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## FRS Section 37 - Security and privacy

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-037. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-037-01 | Generate high/low heart-rate alert | Android | Not ranked | Data shall be encrypted in transit and at rest. | Rejected once |
| FRS-037-02 | Validate sensor data range | Android/iOS | TBD | User shall receive clear error message on failure. | Pending QA |
| FRS-037-03 | Handle offline mode | Bluetooth Sensor | Medium | System shall complete the action without data loss. | Need SME |
| FRS-037-04 | Store readings securely on device | Android | TBD | Data shall be encrypted in transit and at rest. | Approved? |

## FRS Section 38 - Open questions

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-038. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-038-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

FRS-038-3: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-038-01 | Notification retry and suppression | Notification Service | Not ranked | Result must be visible in mobile UI within expected time. | Rejected once |
| FRS-038-02 | Export readings as PDF/CSV | Notification Service | Low | Audit/event record shall be generated where applicable. | Rejected once |
| FRS-038-03 | Battery and Bluetooth warning | Android/iOS | TBD | System shall complete the action without data loss. | In Review |

## FRS Section 39 - Security and privacy

REVIEW-LATER

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-039. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-039-1: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_39.1 | Validate sensor data range | Bluetooth Sensor | High | Data shall be encrypted in transit and at rest. | Pending QA |
| FRS-039-02 | Notification retry and suppression | Notification Service | TBD | Data shall be encrypted in transit and at rest. | In Review |
| FRS-039-03 | Generate high/low heart-rate alert | Android | TBD | Audit/event record shall be generated where applicable. | In Review |
| FRS-039-04 | Audit user actions | Notification Service | TBD | System shall complete the action without data loss. | Rejected once |

Random inserted note: duplicate title appears again below.

## FRS Section 39 - Security and privacy

## FRS Section 40 - Risk and control mapping

missing owner

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-040. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-040-1: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-040-01 | Capture heart rate from paired device | Backend API | TBD | System shall complete the action without data loss. | Draft |
| FRS-040-02 | Consent capture and privacy notice | iOS | Medium | TBD by clinical SME - intentionally incomplete. | Pending QA |
| FRS-040-03 | Sync readings to cloud API | Backend API | High | Result must be visible in mobile UI within expected time. | Draft |
| FRS_40.4 | Capture heart rate from paired device | Bluetooth Sensor | TBD | Data shall be encrypted in transit and at rest. | Need SME |
| FRS_40.5 | Display current BPM with timestamp | Backend API | Medium | System shall complete the action without data loss. | Approved? |

## FRS Section 41 - Data handling notes

manual note

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-041. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-041-1: App shall process heart rate data and preserve timestamp/timezone context.

FRS-041-2: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-041-01 | Export readings as PDF/CSV | Local DB | TBD | Audit/event record shall be generated where applicable. | Need SME |
| FRS_41.2 | Battery and Bluetooth warning | Android | TBD | Data shall be encrypted in transit and at rest. | Need SME |
| FRS-041-03 | Display current BPM with timestamp | Android/iOS | Low | Result must be visible in mobile UI within expected time. | Approved? |
| FRS-041-04 | Handle offline mode | Notification Service | Medium | Data shall be encrypted in transit and at rest. | Rejected once |

# FRS Section 42 - Traceability notes

duplicate section

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-042. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-042-1: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

FRS-042-3: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-042-01 | Capture heart rate from paired device | iOS | High | Audit/event record shall be generated where applicable. | Rejected once |
| FRS-042-02 | Capture heart rate from paired device | Notification Service | Medium | Data shall be encrypted in transit and at rest. | Pending QA |
| FRS-042-03 | Notification retry and suppression | iOS | TBD | System shall complete the action without data loss. | Need SME |

# FRS Section 43 - Evidence placeholder

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-043. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-043-01 | Biometric login option | Notification Service | Not ranked | Data shall be encrypted in transit and at rest. | Rejected once |
| FRS-043-02 | Generate high/low heart-rate alert | Cloud Sync | Low | User shall receive clear error message on failure. | Approved? |
| FRS_43.3 | Sync readings to cloud API | Android/iOS | TBD | User shall receive clear error message on failure. | In Review |
| FRS_43.4 | Generate high/low heart-rate alert | Android/iOS | Not ranked | TBD by clinical SME - intentionally incomplete. | Rejected once |

## FRS Section 44 - Bluetooth edge cases

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-044. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_44.1 | Manual heart rate entry when device unavailable | Notification Service | Low | Result must be visible in mobile UI within expected time. | Approved? |
| FRS-044-02 | Capture heart rate from paired device | Notification Service | High | TBD by clinical SME - intentionally incomplete. | In Review |
| FRS-044-03 | Sync readings to cloud API | Cloud Sync | High | Data shall be encrypted in transit and at rest. | Approved? |

# FRS Section 45 - Repeated requirement block

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-045. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-045-01 | Support caregiver view | Android | High | Result must be visible in mobile UI within expected time. | Draft |
| FRS-045-02 | Display current BPM with timestamp | Local DB | Medium | Result must be visible in mobile UI within expected time. | Draft |
| FRS-045-03 | Notification retry and suppression | Android | Not ranked | Audit/event record shall be generated where applicable. | Pending QA |
| FRS_45.4 | Manual heart rate entry when device unavailable | Notification Service | High | Result must be visible in mobile UI within expected time. | Approved? |
| FRS-045-05 | Notification retry and suppression | Bluetooth Sensor | Low | Audit/event record shall be generated where applicable. | Pending QA |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# FRS Section 46 - Test condition table

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-046. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

FRS-046-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-046-01 | Consent capture and privacy notice | Android/iOS | Not ranked | System shall complete the action without data loss. | Rejected once |
| FRS-046-02 | Validate sensor data range | Backend API | Not ranked | Audit/event record shall be generated where applicable. | In Review |
| FRS-046-03 | Generate high/low heart-rate alert | Android | Medium | TBD by clinical SME - intentionally incomplete. | Rejected once |
| FRS-046-04 | Display current BPM with timestamp | Notification Service | Not ranked | User shall receive clear error message on failure. | Draft |
| FRS-046-05 | Export readings as PDF/CSV | Android | High | Result must be visible in mobile UI within expected time. | Draft |

## FRS Section 47 - Requirement details

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-047. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-047-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_47.1 | Support caregiver view | Android | TBD | TBD by clinical SME - intentionally incomplete. | Rejected once |
| FRS-047-02 | Support caregiver view | Cloud Sync | Not ranked | System shall complete the action without data loss. | Rejected once |
| FRS_47.3 | Show trend chart for 7/30/90 days | Android/iOS | Medium | System shall complete the action without data loss. | In Review |
| FRS-047-04 | Battery and Bluetooth warning | Bluetooth Sensor | Low | System shall complete the action without data loss. | Draft |

# FRS Section 48 - Data handling notes

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-048. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

FRS-048-2: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-048-01 | Audit user actions | Android | Medium | Result must be visible in mobile UI within expected time. | Pending QA |
| FRS-048-02 | Battery and Bluetooth warning | Android | Not ranked | Data shall be encrypted in transit and at rest. | Approved? |
| FRS-048-03 | Store readings securely on device | Android/iOS | TBD | User shall receive clear error message on failure. | Pending QA |
| FRS-048-04 | Notification retry and suppression | Local DB | Low | Result must be visible in mobile UI within expected time. | Approved? |
| FRS-048-05 | Manual heart rate entry when device unavailable | Cloud Sync | Low | Audit/event record shall be generated where applicable. | Draft |

# FRS Section 49 - Audit trail mapping

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-049. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-049-01 | Display current BPM with timestamp | Android/iOS | Medium | System shall complete the action without data loss. | Approved? |
| FRS-049-02 | Store readings securely on device | Android | TBD | Data shall be encrypted in transit and at rest. | Approved? |
| FRS_49.3 | Sync readings to cloud API | Cloud Sync | Medium | User shall receive clear error message on failure. | Rejected once |

# FRS Section 50 - Alert workflow

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-050. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

FRS-050-2: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_50.1 | Export readings as PDF/CSV | Android | High | Audit/event record shall be generated where applicable. | In Review |
| FRS-050-02 | Consent capture and privacy notice | Notification Service | Medium | Result must be visible in mobile UI within expected time. | Draft |
| FRS-050-03 | Audit user actions | Cloud Sync | Medium | Data shall be encrypted in transit and at rest. | Pending QA |
| FRS_50.4 | Manual heart rate entry when device unavailable | Backend API | Medium | Data shall be encrypted in transit and at rest. | In Review |
| FRS-050-05 | Display current BPM with timestamp | Android | TBD | User shall receive clear error message on failure. | Need SME |

# FRS Section 51 - UI behavior

v0.1/v1.0 mixed

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-051. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

FRS-051-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-051-01 | Sync readings to cloud API | Local DB | Not ranked | Audit/event record shall be generated where applicable. | Need SME |
| FRS-051-02 | Display current BPM with timestamp | Cloud Sync | TBD | TBD by clinical SME - intentionally incomplete. | Rejected once |
| FRS-051-03 | Validate sensor data range | Local DB | TBD | System shall complete the action without data loss. | Rejected once |

## FRS Section 52 - Exception handling

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-052. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-052-01 | Biometric login option | Android | Not ranked | Audit/event record shall be generated where applicable. | Pending QA |
| FRS-052-02 | Display current BPM with timestamp | Bluetooth Sensor | Medium | Result must be visible in mobile UI within expected time. | Rejected once |
| FRS-052-03 | Store readings securely on device | Backend API | TBD | User shall receive clear error message on failure. | Draft |
| FRS-052-04 | Display current BPM with timestamp | Android/iOS | TBD | TBD by clinical SME - intentionally incomplete. | Draft |

Random inserted note: duplicate title appears again below.

## FRS Section 52 - Exception handling

## FRS Section 53 - Alert workflow

old text retained

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-053. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_53.1 | Consent capture and privacy notice | Backend API | Medium | TBD by clinical SME - intentionally incomplete. | In Review |
| FRS_53.2 | Validate sensor data range | Local DB | Low | User shall receive clear error message on failure. | Rejected once |
| FRS-053-03 | Store readings securely on device | Notification Service | Medium | User shall receive clear error message on failure. | Pending QA |
| FRS-053-04 | Validate sensor data range | Local DB | Medium | User shall receive clear error message on failure. | Pending QA |

## FRS Section 54 - Requirement details

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-054. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-054-01 | Consent capture and privacy notice | iOS | Not ranked | Result must be visible in mobile UI within expected time. | Approved? |
| FRS-054-02 | Generate high/low heart-rate alert | iOS | TBD | TBD by clinical SME - intentionally incomplete. | In Review |
| FRS_54.3 | Export readings as PDF/CSV | Android/iOS | TBD | Audit/event record shall be generated where applicable. | Need SME |
| FRS-054-04 | Export readings as PDF/CSV | Notification Service | Medium | Result must be visible in mobile UI within expected time. | Pending QA |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# FRS Section 55 - Traceability notes

v0.1/v1.0 mixed

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-055. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-055-1: App shall process heart rate data and preserve timestamp/timezone context.

FRS-055-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-055-01 | Validate sensor data range | Bluetooth Sensor | TBD | System shall complete the action without data loss. | In Review |
| FRS-055-02 | Generate high/low heart-rate alert | Cloud Sync | Medium | TBD by clinical SME - intentionally incomplete. | Draft |
| FRS-055-03 | Show trend chart for 7/30/90 days | Cloud Sync | Medium | Result must be visible in mobile UI within expected time. | Rejected once |
| FRS-055-04 | Show trend chart for 7/30/90 days | Android/iOS | High | System shall complete the action without data loss. | Draft |

# FRS Section 56 - Exception handling

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-056. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-056-01 | Capture heart rate from paired device | Notification Service | TBD | User shall receive clear error message on failure. | Need SME |
| FRS-056-02 | Battery and Bluetooth warning | Android | Medium | Result must be visible in mobile UI within expected time. | Draft |
| FRS-056-03 | Biometric login option | iOS | High | System shall complete the action without data loss. | Need SME |
| FRS-056-04 | Sync readings to cloud API | Cloud Sync | High | TBD by clinical SME - intentionally incomplete. | Need SME |

# FRS Section 57 - Traceability notes

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-057. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_57.1 | Export readings as PDF/CSV | Local DB | Low | System shall complete the action without data loss. | Pending QA |
| FRS-057-02 | Audit user actions | Bluetooth Sensor | Not ranked | User shall receive clear error message on failure. | Need SME |
| FRS_57.3 | Generate high/low heart-rate alert | iOS | Not ranked | System shall complete the action without data loss. | Need SME |
| FRS-057-04 | Support caregiver view | Android | TBD | System shall complete the action without data loss. | Need SME |
| FRS-057-05 | Store readings securely on device | Android | Not ranked | User shall receive clear error message on failure. | Pending QA |

# FRS Section 58 - Risk and control mapping

v0.1/v1.0 mixed

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-058. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_58.1 | Consent capture and privacy notice | Android | TBD | Data shall be encrypted in transit and at rest. | Rejected once |
| FRS-058-02 | Consent capture and privacy notice | Cloud Sync | Not ranked | Result must be visible in mobile UI within expected time. | Approved? |
| FRS-058-03 | Notification retry and suppression | Cloud Sync | Medium | Data shall be encrypted in transit and at rest. | Approved? |
| FRS-058-04 | Manual heart rate entry when device unavailable | Local DB | Not ranked | System shall complete the action without data loss. | Approved? |

# FRS Section 59 - Data handling notes

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-059. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-059-01 | Export readings as PDF/CSV | Backend API | Medium | System shall complete the action without data loss. | Rejected once |
| FRS-059-02 | Sync readings to cloud API | Android/iOS | TBD | User shall receive clear error message on failure. | Pending QA |
| FRS-059-03 | Support caregiver view | Cloud Sync | Not ranked | Audit/event record shall be generated where applicable. | Rejected once |

## FRS Section 60 - Traceability notes

manual note

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-060. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-060-01 | Show trend chart for 7/30/90 days | Backend API | Medium | Audit/event record shall be generated where applicable. | Approved? |
| FRS-060-02 | Manual heart rate entry when device unavailable | Backend API | Not ranked | System shall complete the action without data loss. | Approved? |
| FRS-060-03 | Store readings securely on device | Local DB | TBD | Result must be visible in mobile UI within expected time. | Approved? |
| FRS-060-04 | Support caregiver view | Android/iOS | Not ranked | Data shall be encrypted in transit and at rest. | Draft |

# FRS Section 61 - Exception handling

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-061. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-061-01 | Consent capture and privacy notice | Backend API | High | TBD by clinical SME - intentionally incomplete. | Approved? |
| FRS-061-02 | Notification retry and suppression | Backend API | Not ranked | User shall receive clear error message on failure. | Approved? |
| FRS-061-03 | Consent capture and privacy notice | Local DB | TBD | Result must be visible in mobile UI within expected time. | In Review |
| FRS_61.4 | Generate high/low heart-rate alert | Android | Low | Result must be visible in mobile UI within expected time. | Need SME |

## FRS Section 62 - Evidence placeholder

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-062. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-062-01 | Notification retry and suppression | Backend API | High | TBD by clinical SME - intentionally incomplete. | In Review |
| FRS-062-02 | Generate high/low heart-rate alert | Backend API | Low | TBD by clinical SME - intentionally incomplete. | Need SME |
| FRS_62.3 | Notification retry and suppression | Bluetooth Sensor | Low | Result must be visible in mobile UI within expected time. | Approved? |

## FRS Section 63 - Evidence placeholder

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-063. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_63.1 | Biometric login option | Backend API | Low | Audit/event record shall be generated where applicable. | Draft |
| FRS-063-02 | Notification retry and suppression | Android | Medium | Audit/event record shall be generated where applicable. | Approved? |
| FRS-063-03 | Handle offline mode | Android | Low | TBD by clinical SME - intentionally incomplete. | Draft |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## FRS Section 64 - Exception handling

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-064. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_64.1 | Handle offline mode | Cloud Sync | Medium | System shall complete the action without data loss. | Pending QA |
| FRS-064-02 | Manual heart rate entry when device unavailable | Bluetooth Sensor | TBD | Audit/event record shall be generated where applicable. | Rejected once |
| FRS-064-03 | Display current BPM with timestamp | Cloud Sync | Low | TBD by clinical SME - intentionally incomplete. | Pending QA |
| FRS-064-04 | Capture heart rate from paired device | iOS | Medium | TBD by clinical SME - intentionally incomplete. | Rejected once |

# FRS Section 65 - Open questions

v0.1/v1.0 mixed

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-065. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-065-01 | Handle offline mode | Android | Low | Audit/event record shall be generated where applicable. | Draft |
| FRS-065-02 | Validate sensor data range | Android | Low | System shall complete the action without data loss. | Rejected once |
| FRS_65.3 | Battery and Bluetooth warning | Android/iOS | TBD | Audit/event record shall be generated where applicable. | Need SME |
| FRS-065-04 | Store readings securely on device | Android/iOS | Medium | TBD by clinical SME - intentionally incomplete. | Rejected once |

Random inserted note: duplicate title appears again below.

## FRS Section 65 - Open questions

## FRS Section 66 - Mobile platform variation

??

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-066. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-066-1: App shall process heart rate data and preserve timestamp/timezone context.

FRS-066-2: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-066-01 | Manual heart rate entry when device unavailable | Android/iOS | Not ranked | Result must be visible in mobile UI within expected time. | Rejected once |
| FRS-066-02 | Biometric login option | Local DB | Not ranked | System shall complete the action without data loss. | Need SME |
| FRS-066-03 | Store readings securely on device | iOS | High | Data shall be encrypted in transit and at rest. | Pending QA |
| FRS-066-04 | Generate high/low heart-rate alert | Android/iOS | Low | Data shall be encrypted in transit and at rest. | Approved? |
| FRS-066-05 | Battery and Bluetooth warning | Cloud Sync | High | User shall receive clear error message on failure. | Need SME |

# FRS Section 67 - Repeated requirement block

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-067. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-067-01 | Consent capture and privacy notice | Bluetooth Sensor | Low | Data shall be encrypted in transit and at rest. | Pending QA |
| FRS-067-02 | Show trend chart for 7/30/90 days | Cloud Sync | TBD | Audit/event record shall be generated where applicable. | Approved? |
| FRS-067-03 | Generate high/low heart-rate alert | Cloud Sync | Not ranked | User shall receive clear error message on failure. | In Review |

## FRS Section 68 - Exception handling

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-068. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-068-01 | Store readings securely on device | Backend API | Medium | Result must be visible in mobile UI within expected time. | Approved? |
| FRS_68.2 | Handle offline mode | Android/iOS | Not ranked | System shall complete the action without data loss. | Draft |
| FRS_68.3 | Export readings as PDF/CSV | Notification Service | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |
| FRS-068-04 | Show trend chart for 7/30/90 days | Cloud Sync | TBD | Result must be visible in mobile UI within expected time. | Need SME |
| FRS-068-05 | Generate high/low heart-rate alert | Local DB | Not ranked | Audit/event record shall be generated where applicable. | Approved? |

## FRS Section 69 - Data handling notes

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-069. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

FRS-069-3: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-069-01 | Support caregiver view | Android | High | System shall complete the action without data loss. | Draft |
| FRS-069-02 | Generate high/low heart-rate alert | Android | TBD | Data shall be encrypted in transit and at rest. | Approved? |
| FRS-069-03 | Manual heart rate entry when device unavailable | Cloud Sync | Low | User shall receive clear error message on failure. | Approved? |

## FRS Section 70 - Alert workflow

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-070. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-070-01 | Notification retry and suppression | iOS | Low | TBD by clinical SME - intentionally incomplete. | Need SME |
| FRS-070-02 | Export readings as PDF/CSV | Notification Service | High | User shall receive clear error message on failure. | Rejected once |
| FRS-070-03 | Battery and Bluetooth warning | Android/iOS | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |
| FRS-070-04 | Biometric login option | Android | Medium | Result must be visible in mobile UI within expected time. | Rejected once |

# FRS Section 71 - Bluetooth edge cases

OCR noisy line

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-071. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-071-01 | Sync readings to cloud API | Backend API | TBD | System shall complete the action without data loss. | Draft |
| FRS_71.2 | Audit user actions | Cloud Sync | Not ranked | Audit/event record shall be generated where applicable. | Approved? |
| FRS-071-03 | Audit user actions | Bluetooth Sensor | Medium | Result must be visible in mobile UI within expected time. | Rejected once |

## FRS Section 72 - Data handling notes

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-072. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-072-01 | Audit user actions | Bluetooth Sensor | Low | Data shall be encrypted in transit and at rest. | Pending QA |
| FRS-072-02 | Battery and Bluetooth warning | Cloud Sync | Not ranked | TBD by clinical SME - intentionally incomplete. | Draft |
| FRS_72.3 | Display current BPM with timestamp | Local DB | Not ranked | TBD by clinical SME - intentionally incomplete. | In Review |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## FRS Section 73 - Audit trail mapping

v0.1/v1.0 mixed

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-073. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-073-01 | Show trend chart for 7/30/90 days | Local DB | Low | User shall receive clear error message on failure. | Pending QA |
| FRS-073-02 | Notification retry and suppression | Cloud Sync | Not ranked | System shall complete the action without data loss. | Rejected once |
| FRS-073-03 | Biometric login option | Local DB | High | Result must be visible in mobile UI within expected time. | Draft |
| FRS_73.4 | Sync readings to cloud API | Android | TBD | Result must be visible in mobile UI within expected time. | Need SME |

## FRS Section 74 - Security and privacy

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-074. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-074-01 | Generate high/low heart-rate alert | Android | TBD | TBD by clinical SME - intentionally incomplete. | In Review |
| FRS_74.2 | Generate high/low heart-rate alert | Backend API | Low | Result must be visible in mobile UI within expected time. | Pending QA |
| FRS-074-03 | Support caregiver view | iOS | Not ranked | System shall complete the action without data loss. | In Review |

# FRS Section 75 - Security and privacy

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-075. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

FRS-075-3: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-075-01 | Notification retry and suppression | Backend API | TBD | User shall receive clear error message on failure. | Approved? |
| FRS-075-02 | Export readings as PDF/CSV | Android | TBD | Result must be visible in mobile UI within expected time. | In Review |
| FRS-075-03 | Sync readings to cloud API | Android/iOS | Not ranked | TBD by clinical SME - intentionally incomplete. | Approved? |
| FRS_75.4 | Display current BPM with timestamp | Local DB | Medium | TBD by clinical SME - intentionally incomplete. | Pending QA |

# FRS Section 76 - Exception handling

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-076. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-076-01 | Capture heart rate from paired device | Android | Not ranked | TBD by clinical SME - intentionally incomplete. | Pending QA |
| FRS-076-02 | Notification retry and suppression | Bluetooth Sensor | Medium | Audit/event record shall be generated where applicable. | Draft |
| FRS-076-03 | Biometric login option | Backend API | Medium | Data shall be encrypted in transit and at rest. | Approved? |

## FRS Section 77 - API behavior

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-077. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-077-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_77.1 | Manual heart rate entry when device unavailable | Backend API | Low | TBD by clinical SME - intentionally incomplete. | Pending QA |
| FRS-077-02 | Capture heart rate from paired device | Cloud Sync | High | Audit/event record shall be generated where applicable. | Rejected once |
| FRS-077-03 | Notification retry and suppression | Android/iOS | Low | TBD by clinical SME - intentionally incomplete. | In Review |
| FRS-077-04 | Battery and Bluetooth warning | Backend API | Medium | User shall receive clear error message on failure. | Need SME |

# FRS Section 78 - Exception handling

missing owner

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-078. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

FRS-078-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-078-01 | Audit user actions | Notification Service | High | User shall receive clear error message on failure. | Rejected once |
| FRS-078-02 | Audit user actions | Local DB | Not ranked | Audit/event record shall be generated where applicable. | Need SME |
| FRS-078-03 | Show trend chart for 7/30/90 days | Android | Not ranked | Data shall be encrypted in transit and at rest. | Need SME |
| FRS_78.4 | Store readings securely on device | Cloud Sync | Medium | Data shall be encrypted in transit and at rest. | Need SME |

Random inserted note: duplicate title appears again below.

## FRS Section 78 - Exception handling

# FRS Section 79 - Traceability notes

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-079. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-079-01 | Validate sensor data range | iOS | High | System shall complete the action without data loss. | In Review |
| FRS-079-02 | Validate sensor data range | Android | Medium | Data shall be encrypted in transit and at rest. | Approved? |
| FRS-079-03 | Validate sensor data range | iOS | High | System shall complete the action without data loss. | Approved? |
| FRS-079-04 | Notification retry and suppression | Local DB | Not ranked | TBD by clinical SME - intentionally incomplete. | In Review |

# FRS Section 80 - Traceability notes

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-080. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-080-01 | Audit user actions | Backend API | Not ranked | Result must be visible in mobile UI within expected time. | Approved? |
| FRS-080-02 | Validate sensor data range | Local DB | TBD | Data shall be encrypted in transit and at rest. | Need SME |
| FRS-080-03 | Handle offline mode | Local DB | Low | System shall complete the action without data loss. | Approved? |
| FRS-080-04 | Store readings securely on device | Android/iOS | TBD | Result must be visible in mobile UI within expected time. | In Review |

# FRS Section 81 - Risk and control mapping

RAG TEST CHUNK

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-081. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-081-01 | Validate sensor data range | Local DB | Medium | User shall receive clear error message on failure. | Approved? |
| FRS_81.2 | Display current BPM with timestamp | Local DB | Medium | User shall receive clear error message on failure. | Draft |
| FRS-081-03 | Store readings securely on device | Notification Service | Medium | Data shall be encrypted in transit and at rest. | Rejected once |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# FRS Section 82 - Alert workflow

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-082. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-082-01 | Store readings securely on device | iOS | TBD | Result must be visible in mobile UI within expected time. | Need SME |
| FRS-082-02 | Consent capture and privacy notice | Cloud Sync | TBD | Data shall be encrypted in transit and at rest. | Draft |
| FRS-082-03 | Display current BPM with timestamp | Local DB | High | Result must be visible in mobile UI within expected time. | Draft |

## FRS Section 83 - Evidence placeholder

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-083. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-083-01 | Sync readings to cloud API | Local DB | High | User shall receive clear error message on failure. | Need SME |
| FRS-083-02 | Audit user actions | Android/iOS | High | Data shall be encrypted in transit and at rest. | Draft |
| FRS-083-03 | Sync readings to cloud API | iOS | Medium | System shall complete the action without data loss. | In Review |
| FRS-083-04 | Store readings securely on device | Cloud Sync | High | Result must be visible in mobile UI within expected time. | Draft |

# FRS Section 84 - Requirement details

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-084. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

FRS-084-2: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-084-01 | Store readings securely on device | Notification Service | High | TBD by clinical SME - intentionally incomplete. | Need SME |
| FRS_84.2 | Battery and Bluetooth warning | Local DB | Not ranked | Result must be visible in mobile UI within expected time. | Need SME |
| FRS-084-03 | Battery and Bluetooth warning | Android/iOS | Not ranked | TBD by clinical SME - intentionally incomplete. | Approved? |
| FRS-084-04 | Handle offline mode | Local DB | Medium | Audit/event record shall be generated where applicable. | Approved? |

# FRS Section 85 - API behavior

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-085. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-085-01 | Notification retry and suppression | Bluetooth Sensor | Not ranked | TBD by clinical SME - intentionally incomplete. | Approved? |
| FRS-085-02 | Sync readings to cloud API | Notification Service | Low | Data shall be encrypted in transit and at rest. | Pending QA |
| FRS_85.3 | Audit user actions | Backend API | Medium | Data shall be encrypted in transit and at rest. | Rejected once |
| FRS-085-04 | Store readings securely on device | Cloud Sync | Not ranked | TBD by clinical SME - intentionally incomplete. | Need SME |

# FRS Section 86 - Evidence placeholder

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-086. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-086-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

FRS-086-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-086-01 | Support caregiver view | Bluetooth Sensor | High | Result must be visible in mobile UI within expected time. | Draft |
| FRS_86.2 | Export readings as PDF/CSV | Android | Not ranked | Audit/event record shall be generated where applicable. | Approved? |
| FRS-086-03 | Generate high/low heart-rate alert | Bluetooth Sensor | High | TBD by clinical SME - intentionally incomplete. | Need SME |
| FRS-086-04 | Support caregiver view | Local DB | Medium | Data shall be encrypted in transit and at rest. | Approved? |
| FRS-086-05 | Consent capture and privacy notice | Local DB | Medium | System shall complete the action without data loss. | Draft |

## FRS Section 87 - Traceability notes

old text retained

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-087. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-087-01 | Notification retry and suppression | Android | Not ranked | TBD by clinical SME - intentionally incomplete. | In Review |
| FRS-087-02 | Support caregiver view | Cloud Sync | Medium | Data shall be encrypted in transit and at rest. | Draft |
| FRS-087-03 | Notification retry and suppression | Cloud Sync | Medium | System shall complete the action without data loss. | Rejected once |
| FRS-087-04 | Audit user actions | iOS | High | Data shall be encrypted in transit and at rest. | Rejected once |

# FRS Section 88 - Mobile platform variation

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-088. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

FRS-088-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-088-01 | Generate high/low heart-rate alert | Cloud Sync | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |
| FRS-088-02 | Generate high/low heart-rate alert | Notification Service | High | User shall receive clear error message on failure. | Need SME |
| FRS_88.3 | Notification retry and suppression | Local DB | High | TBD by clinical SME - intentionally incomplete. | Draft |

## FRS Section 89 - Data handling notes

OCR noisy line

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-089. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-089-01 | Capture heart rate from paired device | iOS | Not ranked | TBD by clinical SME - intentionally incomplete. | Rejected once |
| FRS-089-02 | Sync readings to cloud API | Notification Service | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |
| FRS-089-03 | Audit user actions | Backend API | Not ranked | System shall complete the action without data loss. | Pending QA |
| FRS-089-04 | Audit user actions | Android | Medium | System shall complete the action without data loss. | In Review |
| FRS-089-05 | Export readings as PDF/CSV | Backend API | Medium | System shall complete the action without data loss. | Need SME |

## FRS Section 90 - Security and privacy

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-090. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-090-01 | Battery and Bluetooth warning | Cloud Sync | Not ranked | User shall receive clear error message on failure. | Pending QA |
| FRS-090-02 | Battery and Bluetooth warning | iOS | Not ranked | Audit/event record shall be generated where applicable. | In Review |
| FRS-090-03 | Capture heart rate from paired device | Cloud Sync | Medium | Data shall be encrypted in transit and at rest. | In Review |
| FRS_90.4 | Capture heart rate from paired device | Android/iOS | High | TBD by clinical SME - intentionally incomplete. | Need SME |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# FRS Section 91 - Mobile platform variation

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-091. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-091-01 | Audit user actions | Notification Service | High | Audit/event record shall be generated where applicable. | Need SME |
| FRS-091-02 | Handle offline mode | Local DB | Medium | Audit/event record shall be generated where applicable. | Draft |
| FRS-091-03 | Handle offline mode | Cloud Sync | TBD | Data shall be encrypted in transit and at rest. | Approved? |
| FRS-091-04 | Export readings as PDF/CSV | iOS | High | System shall complete the action without data loss. | Pending QA |
| FRS-091-05 | Store readings securely on device | Bluetooth Sensor | High | Audit/event record shall be generated where applicable. | Draft |

Random inserted note: duplicate title appears again below.

## FRS Section 91 - Mobile platform variation

# FRS Section 92 - Audit trail mapping

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-092. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-092-01 | Show trend chart for 7/30/90 days | Android | High | User shall receive clear error message on failure. | In Review |
| FRS-092-02 | Support caregiver view | Android/iOS | TBD | Result must be visible in mobile UI within expected time. | Draft |
| FRS-092-03 | Consent capture and privacy notice | Android | Not ranked | System shall complete the action without data loss. | Draft |
| FRS-092-04 | Manual heart rate entry when device unavailable | Cloud Sync | TBD | System shall complete the action without data loss. | Rejected once |

## FRS Section 93 - API behavior

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-093. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-093-01 | Notification retry and suppression | Android/iOS | Low | System shall complete the action without data loss. | Need SME |
| FRS-093-02 | Export readings as PDF/CSV | Android | Low | Result must be visible in mobile UI within expected time. | Rejected once |
| FRS-093-03 | Sync readings to cloud API | Cloud Sync | High | User shall receive clear error message on failure. | Draft |

# FRS Section 94 - Traceability notes

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-094. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-094-1: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-094-01 | Consent capture and privacy notice | Backend API | Medium | System shall complete the action without data loss. | Approved? |
| FRS-094-02 | Support caregiver view | Backend API | Not ranked | Result must be visible in mobile UI within expected time. | Draft |
| FRS-094-03 | Capture heart rate from paired device | Local DB | TBD | Audit/event record shall be generated where applicable. | Rejected once |
| FRS-094-04 | Generate high/low heart-rate alert | Android/iOS | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |

## FRS Section 95 - Evidence placeholder

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-095. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-095-1: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

FRS-095-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-095-01 | Notification retry and suppression | Local DB | High | TBD by clinical SME - intentionally incomplete. | Pending QA |
| FRS-095-02 | Validate sensor data range | Local DB | Medium | User shall receive clear error message on failure. | In Review |
| FRS_95.3 | Export readings as PDF/CSV | Notification Service | Not ranked | Data shall be encrypted in transit and at rest. | Need SME |

## FRS Section 96 - Bluetooth edge cases

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-096. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-096-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-096-01 | Validate sensor data range | Backend API | Low | Audit/event record shall be generated where applicable. | Approved? |
| FRS_96.2 | Export readings as PDF/CSV | Android | Not ranked | Audit/event record shall be generated where applicable. | Pending QA |
| FRS_96.3 | Display current BPM with timestamp | Local DB | TBD | Audit/event record shall be generated where applicable. | Draft |
| FRS-096-04 | Manual heart rate entry when device unavailable | iOS | High | Result must be visible in mobile UI within expected time. | Draft |
| FRS-096-05 | Battery and Bluetooth warning | Backend API | High | Result must be visible in mobile UI within expected time. | Need SME |

## FRS Section 97 - Alert workflow

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-097. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

FRS-097-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-097-01 | Show trend chart for 7/30/90 days | Backend API | Low | Data shall be encrypted in transit and at rest. | Pending QA |
| FRS_97.2 | Consent capture and privacy notice | Backend API | TBD | System shall complete the action without data loss. | Rejected once |
| FRS-097-03 | Store readings securely on device | iOS | Not ranked | Result must be visible in mobile UI within expected time. | Draft |

## FRS Section 98 - API behavior

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-098. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

FRS-098-2: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

FRS-098-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-098-01 | Capture heart rate from paired device | iOS | High | User shall receive clear error message on failure. | Approved? |
| FRS-098-02 | Generate high/low heart-rate alert | Android/iOS | Low | Result must be visible in mobile UI within expected time. | Need SME |
| FRS-098-03 | Battery and Bluetooth warning | Notification Service | High | Audit/event record shall be generated where applicable. | Rejected once |

# FRS Section 99 - Security and privacy

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-099. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

FRS-099-3: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS_99.1 | Capture heart rate from paired device | iOS | TBD | System shall complete the action without data loss. | Rejected once |
| FRS-099-02 | Show trend chart for 7/30/90 days | Bluetooth Sensor | TBD | Data shall be encrypted in transit and at rest. | Draft |
| FRS-099-03 | Handle offline mode | iOS | High | Audit/event record shall be generated where applicable. | Approved? |
| FRS-099-04 | Generate high/low heart-rate alert | Android/iOS | TBD | Data shall be encrypted in transit and at rest. | Need SME |
| FRS-099-05 | Generate high/low heart-rate alert | iOS | TBD | System shall complete the action without data loss. | Pending QA |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# FRS Section 100 - Alert workflow

This page belongs to Functional Requirements Specification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: FRS-100. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

FRS-100-1: App shall process heart rate data and preserve timestamp/timezone context.

FRS-100-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| FRS-100-01 | Support caregiver view | Android/iOS | Medium | System shall complete the action without data loss. | Need SME |
| FRS-100-02 | Validate sensor data range | iOS | Low | User shall receive clear error message on failure. | Approved? |
| FRS-100-03 | Store readings securely on device | Android/iOS | High | Data shall be encrypted in transit and at rest. | Rejected once |
| FRS-100-04 | Show trend chart for 7/30/90 days | Notification Service | TBD | Data shall be encrypted in transit and at rest. | Draft |