Document 5 - OQ - Heart Rate Monitor Application

Application: Heart Rate Monitor for Android and iOS

Document state: DRAFT / uncontrolled / deliberately messy for parser testing

Note: This is synthetic test material only. It is not approved medical-device validation content.

Revision table is mixed below; some rows intentionally repeat or omit values.

| Version | Date | Author | Change |
| --- | --- | --- | --- |
| 0.1 | 2026-05-18 | QA/BA | Initial messy draft |
| 1.0? | TBD | SME? | Imported from old template |
| 0.2 | missing | AI Test | duplicate version row |

This OQ defines operational verification for core app functions under controlled conditions. It intentionally mixes test cases, expected results, notes, and defects to stress a traceability engine.

# OQ Section 2 - Cover / uncontrolled draft

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-002. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

OQ-002-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_2.1 | Capture heart rate from paired device | Android | TBD | User shall receive clear error message on failure. | Rejected once |
| OQ-002-02 | Biometric login option | Notification Service | Medium | System shall complete the action without data loss. | Pending QA |
| OQ-002-03 | Audit user actions | Notification Service | Low | User shall receive clear error message on failure. | Draft |
| OQ-002-04 | Consent capture and privacy notice | Notification Service | TBD | Data shall be encrypted in transit and at rest. | Rejected once |

# OQ Section 3 - Abbreviations mixed list

REVIEW-LATER

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-003. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

OQ-003-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-003-01 | Support caregiver view | iOS | Not ranked | Result must be visible in mobile UI within expected time. | Need SME |
| OQ-003-02 | Generate high/low heart-rate alert | Bluetooth Sensor | High | Audit/event record shall be generated where applicable. | In Review |
| OQ-003-03 | Store readings securely on device | Cloud Sync | Low | Audit/event record shall be generated where applicable. | Need SME |
| OQ-003-04 | Store readings securely on device | Android/iOS | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |
| OQ-003-05 | Notification retry and suppression | Cloud Sync | Not ranked | System shall complete the action without data loss. | Draft |

# OQ Section 4 - Document purpose

old text retained

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-004. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_4.1 | Generate high/low heart-rate alert | Local DB | Medium | Audit/event record shall be generated where applicable. | In Review |
| OQ-004-02 | Show trend chart for 7/30/90 days | iOS | Not ranked | User shall receive clear error message on failure. | Need SME |
| OQ-004-03 | Store readings securely on device | iOS | Low | TBD by clinical SME - intentionally incomplete. | In Review |

## OQ Section 5 - Scope and non-scope

old text retained

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-005. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-005-1: App shall process heart rate data and preserve timestamp/timezone context.

OQ-005-2: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

OQ-005-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_5.1 | Sync readings to cloud API | Android/iOS | TBD | System shall complete the action without data loss. | Approved? |
| OQ-005-02 | Support caregiver view | Android/iOS | Medium | Result must be visible in mobile UI within expected time. | Approved? |
| OQ-005-03 | Store readings securely on device | iOS | Low | Data shall be encrypted in transit and at rest. | Rejected once |
| OQ_5.4 | Notification retry and suppression | Android/iOS | Low | User shall receive clear error message on failure. | Approved? |

## OQ Section 6 - System overview

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-006. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-006-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-006-01 | Display current BPM with timestamp | Cloud Sync | High | Result must be visible in mobile UI within expected time. | Draft |
| OQ-006-02 | Sync readings to cloud API | Notification Service | TBD | Result must be visible in mobile UI within expected time. | Need SME |
| OQ-006-03 | Manual heart rate entry when device unavailable | Notification Service | Not ranked | Data shall be encrypted in transit and at rest. | Draft |
| OQ-006-04 | Display current BPM with timestamp | Bluetooth Sensor | TBD | User shall receive clear error message on failure. | Draft |

# OQ Section 7 - Mobile app overview

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-007. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_7.1 | Display current BPM with timestamp | Android/iOS | High | Audit/event record shall be generated where applicable. | Rejected once |
| OQ-007-02 | Capture heart rate from paired device | iOS | Medium | Data shall be encrypted in transit and at rest. | Rejected once |
| OQ-007-03 | Display current BPM with timestamp | Android | High | System shall complete the action without data loss. | Rejected once |
| OQ_7.4 | Show trend chart for 7/30/90 days | Local DB | High | Audit/event record shall be generated where applicable. | Pending QA |
| OQ_7.5 | Capture heart rate from paired device | Backend API | High | System shall complete the action without data loss. | Draft |

## OQ Section 8 - User roles

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-008. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

OQ-008-2: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-008-01 | Export readings as PDF/CSV | iOS | TBD | System shall complete the action without data loss. | Rejected once |
| OQ_8.2 | Biometric login option | Local DB | Low | System shall complete the action without data loss. | Rejected once |
| OQ_8.3 | Handle offline mode | Cloud Sync | Not ranked | Result must be visible in mobile UI within expected time. | Need SME |

## OQ Section 9 - Regulatory notes

RAG TEST CHUNK

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-009. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-009-01 | Display current BPM with timestamp | Android/iOS | High | Audit/event record shall be generated where applicable. | Need SME |
| OQ-009-02 | Manual heart rate entry when device unavailable | iOS | High | Data shall be encrypted in transit and at rest. | In Review |
| OQ-009-03 | Display current BPM with timestamp | Android | TBD | Result must be visible in mobile UI within expected time. | Approved? |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# OQ Section 10 - Data privacy notes

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-010. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

OQ-010-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-010-01 | Audit user actions | Android | Medium | Result must be visible in mobile UI within expected time. | In Review |
| OQ-010-02 | Handle offline mode | iOS | Low | System shall complete the action without data loss. | In Review |
| OQ-010-03 | Sync readings to cloud API | Cloud Sync | Not ranked | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ-010-04 | Battery and Bluetooth warning | Local DB | High | Result must be visible in mobile UI within expected time. | Pending QA |

## OQ Section 11 - High level assumptions

missing owner

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-011. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-011-01 | Validate sensor data range | Bluetooth Sensor | Not ranked | Data shall be encrypted in transit and at rest. | Approved? |
| OQ-011-02 | Export readings as PDF/CSV | Cloud Sync | High | System shall complete the action without data loss. | Rejected once |
| OQ-011-03 | Capture heart rate from paired device | Android | TBD | Audit/event record shall be generated where applicable. | In Review |

# OQ Section 12 - Cover / uncontrolled draft

RAG TEST CHUNK

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-012. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-012-01 | Export readings as PDF/CSV | Backend API | High | Result must be visible in mobile UI within expected time. | In Review |
| OQ_12.2 | Support caregiver view | Android | Not ranked | Result must be visible in mobile UI within expected time. | Draft |
| OQ_12.3 | Validate sensor data range | iOS | Low | Data shall be encrypted in transit and at rest. | Approved? |

# OQ Section 13 - Abbreviations mixed list

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-013. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-013-1: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-013-01 | Support caregiver view | Local DB | High | TBD by clinical SME - intentionally incomplete. | Draft |
| OQ_13.2 | Consent capture and privacy notice | iOS | TBD | Audit/event record shall be generated where applicable. | Rejected once |
| OQ-013-03 | Notification retry and suppression | Backend API | Low | Result must be visible in mobile UI within expected time. | Pending QA |

Random inserted note: duplicate title appears again below.

## OQ Section 13 - Abbreviations mixed list

## OQ Section 14 - Document purpose

??

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-014. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-014-1: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-014-01 | Store readings securely on device | Android | TBD | Result must be visible in mobile UI within expected time. | Rejected once |
| OQ-014-02 | Generate high/low heart-rate alert | Cloud Sync | High | Result must be visible in mobile UI within expected time. | Rejected once |
| OQ-014-03 | Store readings securely on device | Bluetooth Sensor | Low | System shall complete the action without data loss. | Draft |

# OQ Section 15 - UI behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-015. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

OQ-015-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-015-01 | Display current BPM with timestamp | iOS | Not ranked | User shall receive clear error message on failure. | In Review |
| OQ-015-02 | Display current BPM with timestamp | Cloud Sync | Not ranked | Data shall be encrypted in transit and at rest. | Draft |
| OQ_15.3 | Capture heart rate from paired device | Cloud Sync | High | TBD by clinical SME - intentionally incomplete. | Need SME |

# OQ Section 16 - UI behavior

duplicate section

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-016. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

OQ-016-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-016-01 | Biometric login option | iOS | Not ranked | Data shall be encrypted in transit and at rest. | In Review |
| OQ-016-02 | Generate high/low heart-rate alert | iOS | Low | Result must be visible in mobile UI within expected time. | In Review |
| OQ_16.3 | Handle offline mode | Cloud Sync | TBD | Audit/event record shall be generated where applicable. | Rejected once |
| OQ-016-04 | Display current BPM with timestamp | Cloud Sync | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ_16.5 | Manual heart rate entry when device unavailable | Local DB | Medium | Result must be visible in mobile UI within expected time. | Approved? |

# OQ Section 17 - Data handling notes

RAG TEST CHUNK

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-017. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-017-1: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_17.1 | Consent capture and privacy notice | Local DB | Medium | Audit/event record shall be generated where applicable. | Approved? |
| OQ-017-02 | Battery and Bluetooth warning | Android/iOS | Not ranked | TBD by clinical SME - intentionally incomplete. | In Review |
| OQ-017-03 | Consent capture and privacy notice | Local DB | Medium | System shall complete the action without data loss. | In Review |
| OQ-017-04 | Generate high/low heart-rate alert | Cloud Sync | High | User shall receive clear error message on failure. | In Review |

# OQ Section 18 - Audit trail mapping

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-018. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-018-01 | Handle offline mode | Notification Service | High | TBD by clinical SME - intentionally incomplete. | Pending QA |
| OQ-018-02 | Export readings as PDF/CSV | Android/iOS | Not ranked | Audit/event record shall be generated where applicable. | Approved? |
| OQ_18.3 | Export readings as PDF/CSV | Android/iOS | Low | Result must be visible in mobile UI within expected time. | Rejected once |
| OQ-018-04 | Display current BPM with timestamp | Notification Service | High | Audit/event record shall be generated where applicable. | In Review |
| OQ-018-05 | Export readings as PDF/CSV | Local DB | Low | TBD by clinical SME - intentionally incomplete. | In Review |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## OQ Section 19 - Mobile platform variation

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-019. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-019-1: App shall process heart rate data and preserve timestamp/timezone context.

OQ-019-2: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-019-01 | Capture heart rate from paired device | Notification Service | Not ranked | Audit/event record shall be generated where applicable. | In Review |
| OQ-019-02 | Show trend chart for 7/30/90 days | Android/iOS | Low | User shall receive clear error message on failure. | Approved? |
| OQ-019-03 | Consent capture and privacy notice | Cloud Sync | High | Audit/event record shall be generated where applicable. | Rejected once |

# OQ Section 20 - Mobile platform variation

old text retained

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-020. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-020-01 | Validate sensor data range | Backend API | Not ranked | TBD by clinical SME - intentionally incomplete. | In Review |
| OQ_20.2 | Store readings securely on device | Cloud Sync | High | TBD by clinical SME - intentionally incomplete. | Rejected once |
| OQ-020-03 | Audit user actions | Local DB | High | User shall receive clear error message on failure. | Rejected once |

## OQ Section 21 - Bluetooth edge cases

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-021. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

OQ-021-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-021-01 | Manual heart rate entry when device unavailable | Bluetooth Sensor | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |
| OQ-021-02 | Capture heart rate from paired device | Notification Service | Not ranked | User shall receive clear error message on failure. | Rejected once |
| OQ-021-03 | Manual heart rate entry when device unavailable | Android | High | Audit/event record shall be generated where applicable. | Draft |
| OQ-021-04 | Battery and Bluetooth warning | iOS | Medium | User shall receive clear error message on failure. | In Review |
| OQ-021-05 | Validate sensor data range | Cloud Sync | Low | Data shall be encrypted in transit and at rest. | Need SME |

# OQ Section 22 - Repeated requirement block

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-022. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-022-01 | Manual heart rate entry when device unavailable | Android | Low | System shall complete the action without data loss. | Approved? |
| OQ-022-02 | Support caregiver view | Android/iOS | Medium | User shall receive clear error message on failure. | Draft |
| OQ-022-03 | Sync readings to cloud API | Notification Service | Low | System shall complete the action without data loss. | In Review |
| OQ-022-04 | Sync readings to cloud API | Notification Service | Low | Result must be visible in mobile UI within expected time. | Approved? |

# OQ Section 23 - Evidence placeholder

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-023. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

OQ-023-3: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_23.1 | Display current BPM with timestamp | Local DB | TBD | User shall receive clear error message on failure. | Draft |
| OQ-023-02 | Generate high/low heart-rate alert | Backend API | Medium | TBD by clinical SME - intentionally incomplete. | Approved? |
| OQ-023-03 | Store readings securely on device | Backend API | Not ranked | User shall receive clear error message on failure. | Pending QA |
| OQ-023-04 | Sync readings to cloud API | Android | Low | TBD by clinical SME - intentionally incomplete. | Draft |
| OQ-023-05 | Battery and Bluetooth warning | Android | TBD | TBD by clinical SME - intentionally incomplete. | Pending QA |

# OQ Section 24 - Test condition table

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-024. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

OQ-024-2: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-024-01 | Battery and Bluetooth warning | Android/iOS | TBD | System shall complete the action without data loss. | Need SME |
| OQ-024-02 | Audit user actions | Cloud Sync | TBD | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ-024-03 | Handle offline mode | Bluetooth Sensor | High | Result must be visible in mobile UI within expected time. | Need SME |
| OQ-024-04 | Generate high/low heart-rate alert | Android | High | Result must be visible in mobile UI within expected time. | Draft |
| OQ-024-05 | Export readings as PDF/CSV | Android | TBD | System shall complete the action without data loss. | Draft |

## OQ Section 25 - Traceability notes

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-025. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

OQ-025-2: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-025-01 | Sync readings to cloud API | Bluetooth Sensor | Medium | User shall receive clear error message on failure. | Approved? |
| OQ_25.2 | Capture heart rate from paired device | Bluetooth Sensor | Medium | Result must be visible in mobile UI within expected time. | In Review |
| OQ-025-03 | Audit user actions | Cloud Sync | TBD | User shall receive clear error message on failure. | Draft |

## OQ Section 26 - Requirement details

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-026. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-026-01 | Generate high/low heart-rate alert | Android/iOS | Medium | TBD by clinical SME - intentionally incomplete. | Approved? |
| OQ-026-02 | Notification retry and suppression | Bluetooth Sensor | High | Audit/event record shall be generated where applicable. | Need SME |
| OQ-026-03 | Capture heart rate from paired device | Android/iOS | High | Result must be visible in mobile UI within expected time. | Draft |
| OQ-026-04 | Biometric login option | Backend API | Low | TBD by clinical SME - intentionally incomplete. | Pending QA |

Random inserted note: duplicate title appears again below.

## OQ Section 26 - Requirement details

# OQ Section 27 - Bluetooth edge cases

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-027. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

OQ-027-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-027-01 | Battery and Bluetooth warning | Bluetooth Sensor | Low | TBD by clinical SME - intentionally incomplete. | Rejected once |
| OQ-027-02 | Biometric login option | Android/iOS | Medium | System shall complete the action without data loss. | Need SME |
| OQ-027-03 | Notification retry and suppression | Android | TBD | Audit/event record shall be generated where applicable. | Pending QA |
| OQ-027-04 | Validate sensor data range | Android/iOS | Medium | Audit/event record shall be generated where applicable. | Approved? |
| OQ_27.5 | Store readings securely on device | Notification Service | Not ranked | System shall complete the action without data loss. | Need SME |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# OQ Section 28 - Mobile platform variation

REVIEW-LATER

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-028. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

OQ-028-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-028-01 | Biometric login option | Android | Low | Data shall be encrypted in transit and at rest. | Pending QA |
| OQ-028-02 | Biometric login option | iOS | Medium | TBD by clinical SME - intentionally incomplete. | Approved? |
| OQ_28.3 | Store readings securely on device | Cloud Sync | TBD | Result must be visible in mobile UI within expected time. | In Review |
| OQ-028-04 | Notification retry and suppression | Android/iOS | High | Audit/event record shall be generated where applicable. | Rejected once |

# OQ Section 29 - Mobile platform variation

duplicate section

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-029. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-029-01 | Biometric login option | Android/iOS | Low | Result must be visible in mobile UI within expected time. | Pending QA |
| OQ-029-02 | Consent capture and privacy notice | Android/iOS | High | Audit/event record shall be generated where applicable. | Rejected once |
| OQ-029-03 | Store readings securely on device | Notification Service | TBD | Audit/event record shall be generated where applicable. | Pending QA |
| OQ-029-04 | Store readings securely on device | Notification Service | Medium | Result must be visible in mobile UI within expected time. | Draft |

# OQ Section 30 - Bluetooth edge cases

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-030. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-030-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

OQ-030-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-030-01 | Sync readings to cloud API | Notification Service | Not ranked | System shall complete the action without data loss. | Pending QA |
| OQ-030-02 | Handle offline mode | Android/iOS | High | System shall complete the action without data loss. | Rejected once |
| OQ-030-03 | Show trend chart for 7/30/90 days | Backend API | Not ranked | Data shall be encrypted in transit and at rest. | Approved? |
| OQ-030-04 | Consent capture and privacy notice | Local DB | High | Data shall be encrypted in transit and at rest. | In Review |
| OQ-030-05 | Capture heart rate from paired device | Android | Low | Audit/event record shall be generated where applicable. | Pending QA |

# OQ Section 31 - Traceability notes

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-031. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-031-01 | Notification retry and suppression | Cloud Sync | Low | Data shall be encrypted in transit and at rest. | Approved? |
| OQ-031-02 | Consent capture and privacy notice | Notification Service | Not ranked | User shall receive clear error message on failure. | Approved? |
| OQ-031-03 | Capture heart rate from paired device | Android | Not ranked | User shall receive clear error message on failure. | In Review |
| OQ-031-04 | Notification retry and suppression | Local DB | Low | Audit/event record shall be generated where applicable. | Need SME |

# OQ Section 32 - Requirement details

duplicate section

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-032. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

OQ-032-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_32.1 | Battery and Bluetooth warning | Android | TBD | System shall complete the action without data loss. | Approved? |
| OQ-032-02 | Battery and Bluetooth warning | Local DB | Not ranked | Audit/event record shall be generated where applicable. | Need SME |
| OQ-032-03 | Capture heart rate from paired device | Android | TBD | Audit/event record shall be generated where applicable. | Need SME |

## OQ Section 33 - Alert workflow

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-033. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-033-1: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

OQ-033-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-033-01 | Export readings as PDF/CSV | Notification Service | Medium | TBD by clinical SME - intentionally incomplete. | Pending QA |
| OQ-033-02 | Sync readings to cloud API | iOS | Low | Data shall be encrypted in transit and at rest. | Draft |
| OQ-033-03 | Battery and Bluetooth warning | Notification Service | Medium | System shall complete the action without data loss. | Rejected once |

## OQ Section 34 - Audit trail mapping

TBD

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-034. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

OQ-034-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-034-01 | Sync readings to cloud API | Backend API | Medium | Data shall be encrypted in transit and at rest. | Pending QA |
| OQ-034-02 | Biometric login option | Android/iOS | Not ranked | System shall complete the action without data loss. | Rejected once |
| OQ-034-03 | Biometric login option | Android | High | System shall complete the action without data loss. | Approved? |
| OQ-034-04 | Export readings as PDF/CSV | Cloud Sync | TBD | Audit/event record shall be generated where applicable. | Rejected once |

# OQ Section 35 - Alert workflow

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-035. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_35.1 | Audit user actions | Backend API | Low | Data shall be encrypted in transit and at rest. | Rejected once |
| OQ-035-02 | Validate sensor data range | Cloud Sync | High | Data shall be encrypted in transit and at rest. | Draft |
| OQ-035-03 | Store readings securely on device | Android | Not ranked | Audit/event record shall be generated where applicable. | Draft |

# OQ Section 36 - API behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-036. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-036-1: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-036-01 | Capture heart rate from paired device | Android | Medium | Data shall be encrypted in transit and at rest. | Need SME |
| OQ-036-02 | Sync readings to cloud API | Notification Service | TBD | TBD by clinical SME - intentionally incomplete. | Draft |
| OQ_36.3 | Capture heart rate from paired device | Cloud Sync | Low | System shall complete the action without data loss. | Draft |
| OQ-036-04 | Manual heart rate entry when device unavailable | Backend API | Low | System shall complete the action without data loss. | Draft |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## OQ Section 37 - API behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-037. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-037-1: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-037-01 | Store readings securely on device | iOS | Low | TBD by clinical SME - intentionally incomplete. | Rejected once |
| OQ-037-02 | Generate high/low heart-rate alert | Cloud Sync | TBD | Audit/event record shall be generated where applicable. | Need SME |
| OQ-037-03 | Manual heart rate entry when device unavailable | Android/iOS | Not ranked | Data shall be encrypted in transit and at rest. | Approved? |
| OQ-037-04 | Capture heart rate from paired device | Notification Service | Medium | Data shall be encrypted in transit and at rest. | Approved? |

## OQ Section 38 - Evidence placeholder

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-038. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

OQ-038-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-038-01 | Capture heart rate from paired device | Local DB | TBD | User shall receive clear error message on failure. | Pending QA |
| OQ_38.2 | Validate sensor data range | Notification Service | TBD | User shall receive clear error message on failure. | Pending QA |
| OQ-038-03 | Show trend chart for 7/30/90 days | Notification Service | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ-038-04 | Biometric login option | Notification Service | Not ranked | User shall receive clear error message on failure. | Rejected once |
| OQ_38.5 | Store readings securely on device | Notification Service | Not ranked | Audit/event record shall be generated where applicable. | Need SME |

## OQ Section 39 - Alert workflow

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-039. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-039-1: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-039-01 | Store readings securely on device | Backend API | TBD | User shall receive clear error message on failure. | Approved? |
| OQ-039-02 | Notification retry and suppression | Android/iOS | Not ranked | Data shall be encrypted in transit and at rest. | In Review |
| OQ-039-03 | Support caregiver view | Backend API | Medium | System shall complete the action without data loss. | Approved? |
| OQ-039-04 | Store readings securely on device | Backend API | Not ranked | Result must be visible in mobile UI within expected time. | Rejected once |
| OQ-039-05 | Show trend chart for 7/30/90 days | Bluetooth Sensor | Not ranked | Result must be visible in mobile UI within expected time. | Approved? |

Random inserted note: duplicate title appears again below.

## OQ Section 39 - Alert workflow

# OQ Section 40 - Security and privacy

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-040. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_40.1 | Notification retry and suppression | Local DB | Not ranked | TBD by clinical SME - intentionally incomplete. | Draft |
| OQ-040-02 | Battery and Bluetooth warning | iOS | Low | User shall receive clear error message on failure. | Draft |
| OQ_40.3 | Battery and Bluetooth warning | Android/iOS | TBD | User shall receive clear error message on failure. | Need SME |
| OQ-040-04 | Sync readings to cloud API | Local DB | TBD | User shall receive clear error message on failure. | Draft |
| OQ-040-05 | Validate sensor data range | Backend API | Low | TBD by clinical SME - intentionally incomplete. | Approved? |

# OQ Section 41 - UI behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-041. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-041-01 | Export readings as PDF/CSV | Notification Service | Low | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ-041-02 | Consent capture and privacy notice | Backend API | Medium | User shall receive clear error message on failure. | In Review |
| OQ-041-03 | Export readings as PDF/CSV | Bluetooth Sensor | Medium | Result must be visible in mobile UI within expected time. | Need SME |
| OQ-041-04 | Capture heart rate from paired device | Local DB | Medium | User shall receive clear error message on failure. | In Review |

## OQ Section 42 - Repeated requirement block

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-042. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-042-01 | Consent capture and privacy notice | Local DB | Medium | TBD by clinical SME - intentionally incomplete. | Rejected once |
| OQ-042-02 | Handle offline mode | Android/iOS | Low | User shall receive clear error message on failure. | Rejected once |
| OQ-042-03 | Audit user actions | Notification Service | High | System shall complete the action without data loss. | Rejected once |

# OQ Section 43 - UI behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-043. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-043-01 | Support caregiver view | iOS | Low | Audit/event record shall be generated where applicable. | Rejected once |
| OQ-043-02 | Store readings securely on device | Local DB | Not ranked | Data shall be encrypted in transit and at rest. | In Review |
| OQ_43.3 | Validate sensor data range | Android/iOS | Medium | System shall complete the action without data loss. | Need SME |
| OQ-043-04 | Show trend chart for 7/30/90 days | Backend API | Low | Audit/event record shall be generated where applicable. | Rejected once |

# OQ Section 44 - Test condition table

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-044. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-044-01 | Audit user actions | Android | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ-044-02 | Export readings as PDF/CSV | Bluetooth Sensor | Not ranked | Audit/event record shall be generated where applicable. | Pending QA |
| OQ-044-03 | Handle offline mode | Backend API | Medium | User shall receive clear error message on failure. | Need SME |

# OQ Section 45 - UI behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-045. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

OQ-045-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-045-01 | Export readings as PDF/CSV | Cloud Sync | TBD | User shall receive clear error message on failure. | In Review |
| OQ-045-02 | Battery and Bluetooth warning | Local DB | TBD | System shall complete the action without data loss. | Pending QA |
| OQ-045-03 | Audit user actions | Android | Not ranked | User shall receive clear error message on failure. | Approved? |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# OQ Section 46 - Repeated requirement block

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-046. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-046-1: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-046-01 | Show trend chart for 7/30/90 days | Bluetooth Sensor | TBD | System shall complete the action without data loss. | In Review |
| OQ-046-02 | Generate high/low heart-rate alert | Android | Medium | Result must be visible in mobile UI within expected time. | Rejected once |
| OQ-046-03 | Validate sensor data range | Android/iOS | Not ranked | Data shall be encrypted in transit and at rest. | Need SME |
| OQ-046-04 | Notification retry and suppression | Local DB | Not ranked | System shall complete the action without data loss. | Draft |
| OQ-046-05 | Validate sensor data range | Local DB | TBD | Result must be visible in mobile UI within expected time. | Rejected once |

## OQ Section 47 - Exception handling

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-047. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

OQ-047-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-047-01 | Capture heart rate from paired device | Local DB | Not ranked | System shall complete the action without data loss. | In Review |
| OQ-047-02 | Handle offline mode | Android | Low | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ-047-03 | Notification retry and suppression | Bluetooth Sensor | TBD | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ-047-04 | Manual heart rate entry when device unavailable | Bluetooth Sensor | Not ranked | System shall complete the action without data loss. | Pending QA |
| OQ_47.5 | Audit user actions | Notification Service | Low | Result must be visible in mobile UI within expected time. | Rejected once |

# OQ Section 48 - Security and privacy

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-048. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

OQ-048-2: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-048-01 | Notification retry and suppression | Cloud Sync | Medium | Data shall be encrypted in transit and at rest. | In Review |
| OQ-048-02 | Biometric login option | Notification Service | Low | System shall complete the action without data loss. | Draft |
| OQ_48.3 | Generate high/low heart-rate alert | Bluetooth Sensor | Medium | System shall complete the action without data loss. | Draft |
| OQ-048-04 | Manual heart rate entry when device unavailable | Cloud Sync | Low | System shall complete the action without data loss. | Need SME |

## OQ Section 49 - Repeated requirement block

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-049. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-049-01 | Display current BPM with timestamp | Cloud Sync | Low | Audit/event record shall be generated where applicable. | Need SME |
| OQ_49.2 | Store readings securely on device | Notification Service | Low | Result must be visible in mobile UI within expected time. | Draft |
| OQ-049-03 | Audit user actions | Backend API | Low | User shall receive clear error message on failure. | Need SME |
| OQ-049-04 | Store readings securely on device | Android/iOS | High | Audit/event record shall be generated where applicable. | Draft |
| OQ-049-05 | Handle offline mode | Android | Not ranked | Audit/event record shall be generated where applicable. | Approved? |

## OQ Section 50 - UI behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-050. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-050-01 | Generate high/low heart-rate alert | Notification Service | TBD | Audit/event record shall be generated where applicable. | In Review |
| OQ-050-02 | Audit user actions | Backend API | Medium | System shall complete the action without data loss. | Approved? |
| OQ_50.3 | Show trend chart for 7/30/90 days | Local DB | TBD | User shall receive clear error message on failure. | Draft |
| OQ-050-04 | Capture heart rate from paired device | Android | Medium | Result must be visible in mobile UI within expected time. | Need SME |
| OQ_50.5 | Manual heart rate entry when device unavailable | Backend API | High | TBD by clinical SME - intentionally incomplete. | In Review |

## OQ Section 51 - Bluetooth edge cases

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-051. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

OQ-051-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-051-01 | Notification retry and suppression | iOS | High | Data shall be encrypted in transit and at rest. | In Review |
| OQ-051-02 | Export readings as PDF/CSV | Android | Medium | Audit/event record shall be generated where applicable. | Approved? |
| OQ_51.3 | Notification retry and suppression | Android | Medium | Data shall be encrypted in transit and at rest. | Approved? |

## OQ Section 52 - Audit trail mapping

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-052. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-052-1: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

OQ-052-3: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-052-01 | Display current BPM with timestamp | Cloud Sync | High | Data shall be encrypted in transit and at rest. | Approved? |
| OQ-052-02 | Handle offline mode | Android | High | Result must be visible in mobile UI within expected time. | Need SME |
| OQ-052-03 | Handle offline mode | Local DB | Low | Audit/event record shall be generated where applicable. | Approved? |
| OQ-052-04 | Store readings securely on device | iOS | TBD | User shall receive clear error message on failure. | Draft |

Random inserted note: duplicate title appears again below.

## OQ Section 52 - Audit trail mapping

# OQ Section 53 - API behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-053. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-053-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

OQ-053-3: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-053-01 | Handle offline mode | Notification Service | Low | System shall complete the action without data loss. | Approved? |
| OQ-053-02 | Generate high/low heart-rate alert | Local DB | High | Result must be visible in mobile UI within expected time. | Draft |
| OQ-053-03 | Notification retry and suppression | Android | Not ranked | Audit/event record shall be generated where applicable. | Pending QA |

# OQ Section 54 - Evidence placeholder

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-054. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

OQ-054-2: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-054-01 | Store readings securely on device | iOS | Low | TBD by clinical SME - intentionally incomplete. | Approved? |
| OQ-054-02 | Support caregiver view | Notification Service | Low | TBD by clinical SME - intentionally incomplete. | Approved? |
| OQ_54.3 | Validate sensor data range | Android | Medium | TBD by clinical SME - intentionally incomplete. | Draft |
| OQ_54.4 | Battery and Bluetooth warning | Notification Service | TBD | Result must be visible in mobile UI within expected time. | In Review |
| OQ_54.5 | Display current BPM with timestamp | iOS | Medium | TBD by clinical SME - intentionally incomplete. | Approved? |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## OQ Section 55 - Repeated requirement block

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-055. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_55.1 | Battery and Bluetooth warning | iOS | Medium | Data shall be encrypted in transit and at rest. | Need SME |
| OQ-055-02 | Handle offline mode | Backend API | Medium | System shall complete the action without data loss. | Need SME |
| OQ_55.3 | Biometric login option | Android/iOS | Low | Audit/event record shall be generated where applicable. | Draft |

# OQ Section 56 - Bluetooth edge cases

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-056. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-056-1: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

OQ-056-3: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-056-01 | Support caregiver view | Cloud Sync | High | User shall receive clear error message on failure. | Need SME |
| OQ-056-02 | Display current BPM with timestamp | Backend API | Low | User shall receive clear error message on failure. | Approved? |
| OQ-056-03 | Capture heart rate from paired device | Cloud Sync | Low | System shall complete the action without data loss. | Pending QA |
| OQ-056-04 | Display current BPM with timestamp | Bluetooth Sensor | Low | TBD by clinical SME - intentionally incomplete. | Approved? |
| OQ-056-05 | Store readings securely on device | Local DB | Medium | System shall complete the action without data loss. | In Review |

# OQ Section 57 - Test condition table

TBD

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-057. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

OQ-057-3: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-057-01 | Support caregiver view | Android | Medium | Result must be visible in mobile UI within expected time. | Approved? |
| OQ-057-02 | Audit user actions | Bluetooth Sensor | Low | User shall receive clear error message on failure. | In Review |
| OQ_57.3 | Audit user actions | Local DB | Not ranked | User shall receive clear error message on failure. | Rejected once |
| OQ_57.4 | Capture heart rate from paired device | Android/iOS | Not ranked | TBD by clinical SME - intentionally incomplete. | Rejected once |
| OQ-057-05 | Notification retry and suppression | iOS | Medium | Result must be visible in mobile UI within expected time. | Draft |

# OQ Section 58 - Audit trail mapping

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-058. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-058-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

OQ-058-3: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_58.1 | Validate sensor data range | Android | Medium | System shall complete the action without data loss. | Rejected once |
| OQ-058-02 | Notification retry and suppression | Android/iOS | Low | System shall complete the action without data loss. | Rejected once |
| OQ-058-03 | Battery and Bluetooth warning | Local DB | TBD | Audit/event record shall be generated where applicable. | Approved? |
| OQ-058-04 | Biometric login option | Backend API | TBD | Audit/event record shall be generated where applicable. | Rejected once |

# OQ Section 59 - Bluetooth edge cases

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-059. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-059-01 | Audit user actions | Notification Service | Medium | Result must be visible in mobile UI within expected time. | Draft |
| OQ-059-02 | Capture heart rate from paired device | iOS | High | Result must be visible in mobile UI within expected time. | In Review |
| OQ_59.3 | Display current BPM with timestamp | Bluetooth Sensor | Medium | Audit/event record shall be generated where applicable. | Approved? |
| OQ-059-04 | Show trend chart for 7/30/90 days | iOS | Low | User shall receive clear error message on failure. | Rejected once |
| OQ-059-05 | Show trend chart for 7/30/90 days | Android | High | System shall complete the action without data loss. | In Review |

# OQ Section 60 - Risk and control mapping

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-060. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

OQ-060-2: App shall process heart rate data and preserve timestamp/timezone context.

OQ-060-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-060-01 | Display current BPM with timestamp | Backend API | Low | Result must be visible in mobile UI within expected time. | Pending QA |
| OQ-060-02 | Notification retry and suppression | Local DB | Medium | System shall complete the action without data loss. | Need SME |
| OQ-060-03 | Display current BPM with timestamp | Android | Not ranked | Data shall be encrypted in transit and at rest. | Need SME |
| OQ-060-04 | Generate high/low heart-rate alert | Android | TBD | User shall receive clear error message on failure. | Rejected once |

# OQ Section 61 - Mobile platform variation

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-061. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-061-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_61.1 | Sync readings to cloud API | Bluetooth Sensor | High | System shall complete the action without data loss. | Pending QA |
| OQ-061-02 | Support caregiver view | Local DB | Not ranked | Data shall be encrypted in transit and at rest. | In Review |
| OQ-061-03 | Notification retry and suppression | Bluetooth Sensor | Not ranked | TBD by clinical SME - intentionally incomplete. | Draft |
| OQ-061-04 | Manual heart rate entry when device unavailable | Android/iOS | TBD | Result must be visible in mobile UI within expected time. | Draft |
| OQ-061-05 | Support caregiver view | Notification Service | Not ranked | TBD by clinical SME - intentionally incomplete. | Approved? |

## OQ Section 62 - UI behavior

??

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-062. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-062-01 | Notification retry and suppression | Android | Low | Result must be visible in mobile UI within expected time. | In Review |
| OQ-062-02 | Export readings as PDF/CSV | Cloud Sync | High | System shall complete the action without data loss. | In Review |
| OQ_62.3 | Export readings as PDF/CSV | iOS | TBD | TBD by clinical SME - intentionally incomplete. | In Review |
| OQ-062-04 | Notification retry and suppression | Android/iOS | Low | Data shall be encrypted in transit and at rest. | In Review |

# OQ Section 63 - Bluetooth edge cases

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-063. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

OQ-063-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-063-01 | Handle offline mode | Backend API | TBD | Data shall be encrypted in transit and at rest. | Pending QA |
| OQ-063-02 | Validate sensor data range | Backend API | TBD | System shall complete the action without data loss. | Need SME |
| OQ_63.3 | Generate high/low heart-rate alert | Bluetooth Sensor | Medium | TBD by clinical SME - intentionally incomplete. | Rejected once |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# OQ Section 64 - Data handling notes

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-064. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-064-1: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-064-01 | Handle offline mode | Cloud Sync | Not ranked | Data shall be encrypted in transit and at rest. | Pending QA |
| OQ-064-02 | Battery and Bluetooth warning | Backend API | Not ranked | User shall receive clear error message on failure. | Rejected once |
| OQ-064-03 | Store readings securely on device | Cloud Sync | Not ranked | TBD by clinical SME - intentionally incomplete. | Approved? |
| OQ-064-04 | Support caregiver view | Local DB | TBD | Result must be visible in mobile UI within expected time. | Draft |

## OQ Section 65 - Repeated requirement block

TBD

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-065. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

OQ-065-2: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

OQ-065-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-065-01 | Export readings as PDF/CSV | Local DB | Not ranked | User shall receive clear error message on failure. | Approved? |
| OQ-065-02 | Handle offline mode | iOS | Low | Audit/event record shall be generated where applicable. | Draft |
| OQ_65.3 | Notification retry and suppression | Cloud Sync | High | Audit/event record shall be generated where applicable. | Need SME |
| OQ_65.4 | Audit user actions | Backend API | Low | User shall receive clear error message on failure. | Draft |

Random inserted note: duplicate title appears again below.

## OQ Section 65 - Repeated requirement block

# OQ Section 66 - Security and privacy

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-066. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-066-01 | Display current BPM with timestamp | Android/iOS | TBD | Data shall be encrypted in transit and at rest. | Pending QA |
| OQ-066-02 | Biometric login option | Bluetooth Sensor | Not ranked | System shall complete the action without data loss. | Draft |
| OQ-066-03 | Export readings as PDF/CSV | Local DB | High | Result must be visible in mobile UI within expected time. | Need SME |
| OQ-066-04 | Handle offline mode | Cloud Sync | Low | User shall receive clear error message on failure. | In Review |

# OQ Section 67 - UI behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-067. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-067-01 | Store readings securely on device | Backend API | High | Data shall be encrypted in transit and at rest. | Pending QA |
| OQ-067-02 | Manual heart rate entry when device unavailable | Bluetooth Sensor | Not ranked | TBD by clinical SME - intentionally incomplete. | Approved? |
| OQ-067-03 | Audit user actions | Bluetooth Sensor | Low | Result must be visible in mobile UI within expected time. | Rejected once |

## OQ Section 68 - Mobile platform variation

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-068. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-068-01 | Support caregiver view | Cloud Sync | High | User shall receive clear error message on failure. | Need SME |
| OQ-068-02 | Display current BPM with timestamp | Backend API | Low | Data shall be encrypted in transit and at rest. | Rejected once |
| OQ-068-03 | Sync readings to cloud API | Local DB | TBD | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ-068-04 | Consent capture and privacy notice | Local DB | Medium | System shall complete the action without data loss. | In Review |
| OQ-068-05 | Audit user actions | Android/iOS | High | Audit/event record shall be generated where applicable. | Rejected once |

## OQ Section 69 - Audit trail mapping

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-069. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-069-01 | Sync readings to cloud API | Backend API | Not ranked | Audit/event record shall be generated where applicable. | In Review |
| OQ-069-02 | Manual heart rate entry when device unavailable | Android/iOS | Low | Data shall be encrypted in transit and at rest. | Need SME |
| OQ-069-03 | Audit user actions | Notification Service | Medium | TBD by clinical SME - intentionally incomplete. | Draft |
| OQ-069-04 | Consent capture and privacy notice | Android | TBD | System shall complete the action without data loss. | Approved? |
| OQ-069-05 | Notification retry and suppression | Android | Medium | TBD by clinical SME - intentionally incomplete. | In Review |

# OQ Section 70 - Traceability notes

duplicate section

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-070. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

OQ-070-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-070-01 | Manual heart rate entry when device unavailable | Notification Service | Not ranked | TBD by clinical SME - intentionally incomplete. | Draft |
| OQ-070-02 | Sync readings to cloud API | Bluetooth Sensor | Not ranked | Audit/event record shall be generated where applicable. | Pending QA |
| OQ-070-03 | Validate sensor data range | Android/iOS | TBD | User shall receive clear error message on failure. | Approved? |
| OQ-070-04 | Consent capture and privacy notice | iOS | Not ranked | Result must be visible in mobile UI within expected time. | Pending QA |
| OQ-070-05 | Consent capture and privacy notice | Local DB | High | Result must be visible in mobile UI within expected time. | Rejected once |

# OQ Section 71 - Test condition table

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-071. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-071-01 | Biometric login option | Notification Service | Not ranked | Audit/event record shall be generated where applicable. | Pending QA |
| OQ-071-02 | Display current BPM with timestamp | Local DB | TBD | TBD by clinical SME - intentionally incomplete. | Draft |
| OQ-071-03 | Store readings securely on device | Cloud Sync | Low | System shall complete the action without data loss. | Need SME |

## OQ Section 72 - Open questions

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-072. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-072-01 | Show trend chart for 7/30/90 days | Android/iOS | Low | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ-072-02 | Capture heart rate from paired device | Backend API | High | Data shall be encrypted in transit and at rest. | Need SME |
| OQ-072-03 | Notification retry and suppression | Notification Service | Medium | User shall receive clear error message on failure. | In Review |
| OQ-072-04 | Export readings as PDF/CSV | Bluetooth Sensor | TBD | Data shall be encrypted in transit and at rest. | Draft |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

# OQ Section 73 - API behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-073. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

OQ-073-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-073-01 | Support caregiver view | Backend API | Not ranked | User shall receive clear error message on failure. | Need SME |
| OQ-073-02 | Validate sensor data range | Cloud Sync | Not ranked | Result must be visible in mobile UI within expected time. | Need SME |
| OQ-073-03 | Support caregiver view | Bluetooth Sensor | High | Audit/event record shall be generated where applicable. | Approved? |
| OQ-073-04 | Capture heart rate from paired device | Android | TBD | Audit/event record shall be generated where applicable. | Need SME |
| OQ_73.5 | Support caregiver view | Android | Not ranked | User shall receive clear error message on failure. | Draft |

# OQ Section 74 - Mobile platform variation

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-074. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-074-01 | Battery and Bluetooth warning | Android/iOS | TBD | Audit/event record shall be generated where applicable. | Draft |
| OQ-074-02 | Manual heart rate entry when device unavailable | Android | Low | System shall complete the action without data loss. | Draft |
| OQ-074-03 | Battery and Bluetooth warning | Notification Service | Not ranked | Result must be visible in mobile UI within expected time. | Approved? |
| OQ-074-04 | Validate sensor data range | Local DB | Medium | User shall receive clear error message on failure. | Draft |

# OQ Section 75 - API behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-075. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

OQ-075-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-075-01 | Battery and Bluetooth warning | Local DB | Not ranked | Audit/event record shall be generated where applicable. | Draft |
| OQ-075-02 | Handle offline mode | iOS | TBD | System shall complete the action without data loss. | Pending QA |
| OQ-075-03 | Notification retry and suppression | Backend API | Not ranked | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ-075-04 | Validate sensor data range | Local DB | Not ranked | Result must be visible in mobile UI within expected time. | Need SME |

## OQ Section 76 - Alert workflow

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-076. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-076-01 | Validate sensor data range | iOS | TBD | Result must be visible in mobile UI within expected time. | Pending QA |
| OQ-076-02 | Generate high/low heart-rate alert | iOS | High | System shall complete the action without data loss. | Draft |
| OQ-076-03 | Validate sensor data range | Cloud Sync | Low | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ-076-04 | Notification retry and suppression | Local DB | Low | Result must be visible in mobile UI within expected time. | Need SME |

## OQ Section 77 - Open questions

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-077. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

OQ-077-2: App shall process heart rate data and preserve timestamp/timezone context.

Old requirement copied from web portal project - review if still valid.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-077-01 | Export readings as PDF/CSV | Backend API | TBD | System shall complete the action without data loss. | Approved? |
| OQ-077-02 | Validate sensor data range | iOS | Not ranked | User shall receive clear error message on failure. | Rejected once |
| OQ-077-03 | Support caregiver view | Cloud Sync | High | Data shall be encrypted in transit and at rest. | Draft |
| OQ-077-04 | Validate sensor data range | Backend API | High | Audit/event record shall be generated where applicable. | Draft |

# OQ Section 78 - Requirement details

??

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-078. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-078-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-078-01 | Consent capture and privacy notice | Backend API | Medium | Audit/event record shall be generated where applicable. | Pending QA |
| OQ-078-02 | Battery and Bluetooth warning | Local DB | TBD | TBD by clinical SME - intentionally incomplete. | Pending QA |
| OQ_78.3 | Biometric login option | Android/iOS | Low | System shall complete the action without data loss. | Draft |

Random inserted note: duplicate title appears again below.

## OQ Section 78 - Requirement details

## OQ Section 79 - Mobile platform variation

REVIEW-LATER

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-079. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

OQ-079-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-079-01 | Consent capture and privacy notice | Backend API | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |
| OQ-079-02 | Validate sensor data range | Bluetooth Sensor | Medium | Data shall be encrypted in transit and at rest. | Rejected once |
| OQ_79.3 | Export readings as PDF/CSV | Android/iOS | Not ranked | Result must be visible in mobile UI within expected time. | Need SME |
| OQ-079-04 | Consent capture and privacy notice | Local DB | TBD | Result must be visible in mobile UI within expected time. | Approved? |
| OQ-079-05 | Support caregiver view | Notification Service | Low | TBD by clinical SME - intentionally incomplete. | Rejected once |

## OQ Section 80 - Test condition table

RAG TEST CHUNK

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-080. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-080-01 | Capture heart rate from paired device | Notification Service | Medium | Data shall be encrypted in transit and at rest. | Draft |
| OQ-080-02 | Sync readings to cloud API | Notification Service | Not ranked | User shall receive clear error message on failure. | Pending QA |
| OQ-080-03 | Validate sensor data range | Backend API | Not ranked | TBD by clinical SME - intentionally incomplete. | Pending QA |
| OQ-080-04 | Consent capture and privacy notice | Android/iOS | TBD | System shall complete the action without data loss. | Approved? |

# OQ Section 81 - Alert workflow

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-081. Owner: TBD. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

OQ-081-3: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-081-01 | Display current BPM with timestamp | Notification Service | TBD | System shall complete the action without data loss. | Pending QA |
| OQ-081-02 | Battery and Bluetooth warning | Android/iOS | Not ranked | User shall receive clear error message on failure. | Approved? |
| OQ-081-03 | Validate sensor data range | Backend API | TBD | Data shall be encrypted in transit and at rest. | Rejected once |
| OQ-081-04 | Export readings as PDF/CSV | Android | Not ranked | User shall receive clear error message on failure. | Draft |
| OQ-081-05 | Show trend chart for 7/30/90 days | iOS | Medium | Result must be visible in mobile UI within expected time. | Draft |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## OQ Section 82 - Mobile platform variation

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-082. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

OQ-082-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-082-01 | Show trend chart for 7/30/90 days | Local DB | Not ranked | Data shall be encrypted in transit and at rest. | Draft |
| OQ_82.2 | Consent capture and privacy notice | Cloud Sync | Low | Audit/event record shall be generated where applicable. | In Review |
| OQ_82.3 | Handle offline mode | Android | Low | System shall complete the action without data loss. | Draft |

## OQ Section 83 - Requirement details

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-083. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-083-1: App shall process heart rate data and preserve timestamp/timezone context.

OQ-083-2: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_83.1 | Notification retry and suppression | iOS | Medium | Result must be visible in mobile UI within expected time. | Draft |
| OQ-083-02 | Notification retry and suppression | iOS | TBD | System shall complete the action without data loss. | Approved? |
| OQ-083-03 | Manual heart rate entry when device unavailable | Local DB | Low | Result must be visible in mobile UI within expected time. | Draft |
| OQ-083-04 | Manual heart rate entry when device unavailable | iOS | TBD | System shall complete the action without data loss. | Rejected once |
| OQ_83.5 | Audit user actions | Bluetooth Sensor | Low | Data shall be encrypted in transit and at rest. | Draft |

# OQ Section 84 - Exception handling

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-084. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_84.1 | Display current BPM with timestamp | Android/iOS | Not ranked | Result must be visible in mobile UI within expected time. | Approved? |
| OQ-084-02 | Consent capture and privacy notice | Bluetooth Sensor | Medium | Data shall be encrypted in transit and at rest. | Approved? |
| OQ-084-03 | Consent capture and privacy notice | Notification Service | High | TBD by clinical SME - intentionally incomplete. | Approved? |
| OQ-084-04 | Manual heart rate entry when device unavailable | Android | Low | Data shall be encrypted in transit and at rest. | Approved? |

## OQ Section 85 - API behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-085. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-085-01 | Notification retry and suppression | Backend API | TBD | Data shall be encrypted in transit and at rest. | Approved? |
| OQ-085-02 | Capture heart rate from paired device | Notification Service | High | Audit/event record shall be generated where applicable. | Approved? |
| OQ-085-03 | Generate high/low heart-rate alert | Notification Service | High | Data shall be encrypted in transit and at rest. | In Review |

## OQ Section 86 - Risk and control mapping

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-086. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-086-01 | Generate high/low heart-rate alert | Notification Service | Not ranked | System shall complete the action without data loss. | Pending QA |
| OQ-086-02 | Export readings as PDF/CSV | Local DB | TBD | TBD by clinical SME - intentionally incomplete. | In Review |
| OQ-086-03 | Manual heart rate entry when device unavailable | Bluetooth Sensor | TBD | User shall receive clear error message on failure. | Approved? |
| OQ-086-04 | Notification retry and suppression | Android/iOS | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ-086-05 | Audit user actions | iOS | Not ranked | System shall complete the action without data loss. | Need SME |

## OQ Section 87 - Alert workflow

duplicate section

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-087. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-087-01 | Sync readings to cloud API | Cloud Sync | Low | Result must be visible in mobile UI within expected time. | Pending QA |
| OQ_87.2 | Battery and Bluetooth warning | Cloud Sync | High | Data shall be encrypted in transit and at rest. | Pending QA |
| OQ-087-03 | Manual heart rate entry when device unavailable | Notification Service | TBD | Data shall be encrypted in transit and at rest. | In Review |
| OQ-087-04 | Display current BPM with timestamp | Local DB | Low | System shall complete the action without data loss. | Draft |

## OQ Section 88 - UI behavior

OCR noisy line

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-088. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-088-1: App shall process heart rate data and preserve timestamp/timezone context.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-088-01 | Export readings as PDF/CSV | Local DB | Not ranked | System shall complete the action without data loss. | Need SME |
| OQ-088-02 | Biometric login option | Notification Service | Low | Result must be visible in mobile UI within expected time. | Need SME |
| OQ-088-03 | Support caregiver view | Android | Low | System shall complete the action without data loss. | Pending QA |
| OQ_88.4 | Show trend chart for 7/30/90 days | Android | TBD | Audit/event record shall be generated where applicable. | Draft |
| OQ-088-05 | Support caregiver view | Notification Service | Low | System shall complete the action without data loss. | Pending QA |

# OQ Section 89 - Repeated requirement block

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-089. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-089-01 | Manual heart rate entry when device unavailable | Android/iOS | TBD | User shall receive clear error message on failure. | In Review |
| OQ-089-02 | Validate sensor data range | iOS | Low | User shall receive clear error message on failure. | Need SME |
| OQ_89.3 | Show trend chart for 7/30/90 days | Android/iOS | TBD | TBD by clinical SME - intentionally incomplete. | Approved? |

## OQ Section 90 - Evidence placeholder

manual note

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-090. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_90.1 | Capture heart rate from paired device | Android/iOS | Low | Result must be visible in mobile UI within expected time. | Rejected once |
| OQ-090-02 | Manual heart rate entry when device unavailable | Cloud Sync | High | Audit/event record shall be generated where applicable. | Draft |
| OQ-090-03 | Biometric login option | Android | Medium | User shall receive clear error message on failure. | In Review |
| OQ-090-04 | Support caregiver view | Android | TBD | System shall complete the action without data loss. | Need SME |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## OQ Section 91 - Data handling notes

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-091. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

OQ-091-4: App shall process heart rate data and preserve timestamp/timezone context.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-091-01 | Export readings as PDF/CSV | Backend API | Low | Result must be visible in mobile UI within expected time. | Approved? |
| OQ-091-02 | Capture heart rate from paired device | Notification Service | Low | TBD by clinical SME - intentionally incomplete. | Rejected once |
| OQ-091-03 | Consent capture and privacy notice | iOS | Not ranked | Data shall be encrypted in transit and at rest. | Approved? |
| OQ-091-04 | Battery and Bluetooth warning | Cloud Sync | Low | Audit/event record shall be generated where applicable. | Draft |
| OQ-091-05 | Display current BPM with timestamp | Local DB | TBD | Result must be visible in mobile UI within expected time. | Pending QA |

Random inserted note: duplicate title appears again below.

## OQ Section 91 - Data handling notes

# OQ Section 92 - UI behavior

old text retained

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-092. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-092-01 | Support caregiver view | Cloud Sync | Low | System shall complete the action without data loss. | Need SME |
| OQ_92.2 | Capture heart rate from paired device | Android | Low | User shall receive clear error message on failure. | In Review |
| OQ-092-03 | Battery and Bluetooth warning | Android/iOS | Not ranked | User shall receive clear error message on failure. | Draft |

## OQ Section 93 - Risk and control mapping

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-093. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-093-1: App shall process heart rate data and preserve timestamp/timezone context.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-093-01 | Generate high/low heart-rate alert | Android | High | System shall complete the action without data loss. | Pending QA |
| OQ-093-02 | Validate sensor data range | Cloud Sync | Not ranked | Audit/event record shall be generated where applicable. | Need SME |
| OQ-093-03 | Handle offline mode | Backend API | Not ranked | User shall receive clear error message on failure. | Pending QA |

## OQ Section 94 - Data handling notes

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-094. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-094-01 | Biometric login option | Local DB | Low | System shall complete the action without data loss. | Need SME |
| OQ-094-02 | Manual heart rate entry when device unavailable | iOS | Not ranked | User shall receive clear error message on failure. | Rejected once |
| OQ-094-03 | Export readings as PDF/CSV | Local DB | Medium | Data shall be encrypted in transit and at rest. | Pending QA |

## OQ Section 95 - UI behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-095. Owner: QA. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

OQ-095-3: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_95.1 | Export readings as PDF/CSV | iOS | Not ranked | User shall receive clear error message on failure. | Approved? |
| OQ_95.2 | Generate high/low heart-rate alert | Bluetooth Sensor | High | Result must be visible in mobile UI within expected time. | Approved? |
| OQ-095-03 | Notification retry and suppression | Android | Not ranked | User shall receive clear error message on failure. | Need SME |
| OQ_95.4 | Battery and Bluetooth warning | Android/iOS | Low | Data shall be encrypted in transit and at rest. | In Review |
| OQ_95.5 | Display current BPM with timestamp | Local DB | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |

## OQ Section 96 - Audit trail mapping

REVIEW-LATER

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-096. Owner: Product. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

OQ-096-1: App shall process heart rate data and preserve timestamp/timezone context.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_96.1 | Validate sensor data range | Android | TBD | System shall complete the action without data loss. | Need SME |
| OQ-096-02 | Notification retry and suppression | Android | High | Audit/event record shall be generated where applicable. | In Review |
| OQ-096-03 | Handle offline mode | Local DB | TBD | TBD by clinical SME - intentionally incomplete. | Pending QA |
| OQ-096-04 | Handle offline mode | Notification Service | TBD | TBD by clinical SME - intentionally incomplete. | Draft |

## OQ Section 97 - Test condition table

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-097. Owner: Mobile Lead. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Old requirement copied from web portal project - review if still valid.

Unnumbered note - check sensor disconnect behavior during active monitoring.

Unnumbered note - check sensor disconnect behavior during active monitoring.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-097-01 | Handle offline mode | iOS | Low | Audit/event record shall be generated where applicable. | Need SME |
| OQ-097-02 | Capture heart rate from paired device | Local DB | High | Result must be visible in mobile UI within expected time. | Rejected once |
| OQ_97.3 | Capture heart rate from paired device | Android/iOS | Medium | Result must be visible in mobile UI within expected time. | Need SME |
| OQ-097-04 | Display current BPM with timestamp | Local DB | High | Result must be visible in mobile UI within expected time. | Pending QA |

# OQ Section 98 - UI behavior

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-098. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ_98.1 | Audit user actions | Cloud Sync | Low | Audit/event record shall be generated where applicable. | Pending QA |
| OQ-098-02 | Store readings securely on device | Bluetooth Sensor | TBD | Audit/event record shall be generated where applicable. | Approved? |
| OQ_98.3 | Export readings as PDF/CSV | Android | Medium | System shall complete the action without data loss. | In Review |

# OQ Section 99 - Audit trail mapping

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-099. Owner: Clinical SME. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Unnumbered note - check sensor disconnect behavior during active monitoring.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

Old requirement copied from web portal project - review if still valid.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-099-01 | Show trend chart for 7/30/90 days | Notification Service | TBD | System shall complete the action without data loss. | Approved? |
| OQ-099-02 | Capture heart rate from paired device | Android | TBD | Data shall be encrypted in transit and at rest. | Draft |
| OQ-099-03 | Support caregiver view | Cloud Sync | TBD | Audit/event record shall be generated where applicable. | Pending QA |
| OQ-099-04 | Capture heart rate from paired device | Android | Medium | User shall receive clear error message on failure. | Draft |
| OQ-099-05 | Show trend chart for 7/30/90 days | Android/iOS | TBD | Audit/event record shall be generated where applicable. | In Review |

MIXED TRACEABILITY LINE: URS-00X -> FRS?? -> DS component maybe -> IQ/OQ/PQ evidence TBD. This line is intentionally noisy.

## OQ Section 100 - Open questions

This page belongs to Operational Qualification for the Heart Rate Monitor mobile application. The application supports Android and iOS users, paired heart-rate sensors, manual BPM entry, trend review, alerts, data export, and controlled access. This block intentionally includes uneven numbering, repeated labels, partial owner fields, and mixed wording so an AI traceability/RAG engine can be tested against non-perfect documents. Page marker: OQ-100. Owner: Validation. Important terms: BPM, sensor pairing, low alert, high alert, caregiver, audit trail, local cache, encrypted sync, consent, export, notification.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

For iOS only? For Android only? unclear; parser should capture platform if visible.

Old requirement copied from web portal project - review if still valid.

Acceptance: expected result to be confirmed by QA; evidence screenshot may be attached later.

| ID | Requirement / Test / Step | Area | Risk | Acceptance / Expected Result | Status |
| --- | --- | --- | --- | --- | --- |
| OQ-100-01 | Battery and Bluetooth warning | iOS | Medium | TBD by clinical SME - intentionally incomplete. | Need SME |
| OQ_100.2 | Audit user actions | Bluetooth Sensor | Not ranked | Data shall be encrypted in transit and at rest. | Need SME |
| OQ-100-03 | Capture heart rate from paired device | Bluetooth Sensor | Low | User shall receive clear error message on failure. | In Review |